## BATCH 1 - 2026 REQUESTS
FB_ID | Pag n° in 2026 annual revision submissions analysis and outcome overview__batch1_rev01_31072026 document | CATEGORY | EMDN_GROUP | FB_NOMEN_CODE | FB_ACTION_TYPE | FB_QUESTION_3 | FB_SUPPORT_INFO | OTHER NOMENCLATURES
1535 | 60 | Y |  | Y120399 | INSERT | Y12030604 - Crutches with handgrip | Devices are walking sticks providing support when walking that have a handgrip without a forearm support, a single shaft and one tip (division 12.03.03 of ISO 9999 standard).
1540 | 45 | A |  | A060399 | INSERT | A060305 URINALS | We manufacture urinals to collect urine for patients who are unable to use the toilet. We cannot find a suitable code.
1543 | 64 | V |  | V080680 | INSERT | V08068004 BELTS FOR MEDICAL BEDS | Bed restraint belt
1544 | 64 | V |  | V080680 | INSERT | V08068005 IMMOBILIZER SPLINT IN BED | Arm or leg immobilisation rails when the patient is lying in bed
1545 | 67 | Y |  | Y09 | INSERT | Y0901 SUPPORT SLING | Arm support sling
1547 | 64 | Y |  | Y1224 | INSERT | Y1224XX WRIST STRAP | Wrist strap for wheelchair
1548 | 68 | Y |  | Y1224 | INSERT | Y1224XX ANTI-SLIP SYSTEM | Anti-slip system positioned around the cushion installed on the wheelchair Anti-slip underside keeps the cushion in place and prevents it from sliding around in the wheelchair, helping to prevent patients from falling
1550 | 62 | Y |  | Y2409 | INSERT | Y2409XX CONTROL DEVICES IN BED | Cover that detects whether or not a patient is in bed - alerts the caregiver if the resident is absent (e.g. in the event of a fall)
1559 | 51 | Q |  | Q0299 | INSERT | Q0212 CILIO-SCLERAL INTERPOSITION DEVICE | INTERCIL® is an implant designed for the treatment of glaucoma. Its main purpose is to reduce intraocular pressure. INTERCIL® is intended to be used in patients suffering from glaucoma to reduce intraocular pressure (IOP) by separating the ciliary body from the sclera, removing an obstacle to the aqueous humor circulation and enhancing the uveoscleral outflow. The difference between this device and those already on the market is the implantation site and therefore the surgical technique (refer to the enclosed IFU). Intercil does not have the same patient profile, performance and safety profile, or the same technology as medical devices classified under the drainage code. It is designed to create a localised space between the ciliary muscle and the sclera, reducing resistance to aqueous flow and improving uveoscleral flow to the choroidal circulation, without the need to open the anterior chamber or disinsert the iris root.
1568 | 43 | R |  | R90 | INSERT | Code R9012 - Term Mechanical positive pressure airway secretion-clearing device | (Derived from GMDN 43947) A hand-held, mechanical device designed to remove excessive mucus or sputum (phlegm) from the lungs and upper airway of a patient typically suffering from acute or chronic lung disease. A positive expiratory pressure (PEP) is created when a patient exhales into the device, creating vibrations in the chest wall which loosens the mucus for expectoration and also assists in lung expansion. Also known as an oscillating positive expiratory pressure (OPEP) device, it is a single-patient device designed for use both in a healthcare facility and in the home. This is a reusable device.
1570 | 92 | V |  | V92 | INSERT | V93- Medical Devices for General Surgery-Single Use | The EMDN code for Single Use General Surgery Devices including Tweezers not available in this nomenclature so we need to add new level for this device group. Surgical tweezers are intended to hold and manipulate tissues or dressing materials such as cotton and gauze during surgical procedures, wound dressing changes, or packing of wounds.
1571 | 92 | V |  | V92 | INSERT | V93- Medical Devices for General Surgery, Single Use | The EMDN code for Single Use General Surgery Devices including Tweezers not available in this nomenclature so we need to add new level for this device group. General surgery retractors are used to separate or draw aside the margins of a wound, incision, or skin to provide access to underlying tissues or organs. They may also be used to hold tissues or organs out of the way during surgical procedures.
1572 | 92 | V |  | V92 | INSERT | V93- Medical Devices for General Surgery, Single Use | EMDN code for Single Use General Surgery Devices including Curettes not available in this nomenclature so we need to add new level for this device group. Surgical curettes with spoon shaped tips are used for scraping or debriding tissues during surgical procedures.
1574 | 70 | P |  | P070402 | INSERT | P07040203-NEUROVASCULAR STENTS P0704020301-NEUROVASCULAR BARE METAL STENTS P0704020302-NEUROVASCULAR COVERED STENTS P0704020303-NEUROVASCULAR COATED STENTS P0704020304-NEUROVASCULAR DRUG ELUTING STENTS | Merlin MD is a high-risk neurovascular medical device Manufacturer, based in Singapore. Our products are novel neuro flow diverters- the metal stent is covered by a proprietary polymer. The polymer region forms the working length of the implant. The polymer is then laser drilled, to provide the higher surface coverage (58%) than a typical neuro flow diverter (30-40%). The products are intended to occlude the targeted intracranial aneurysm located in the Internal Carotid Artery (ICA) by diverting the blood flow away from the aneurysm neck and reconstructing the parent artery. The porosity of the polymer helps in the flow diversion from the aneurysm while keeping the side branches perfused. Attached is the IFU of our latest product, DiVeRt System which is under MDR Conformity Evaluation. We could not find the most appropriate term for our device while searching for the relevant EMDN code.
1575 | 17 | L |  | L09 | INSERT | L0929 - Orthopedic surgery and traumatological impactors, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to impactors, for which the existing code L091104 (orthopaedic prosthesis positioners, reusable) is not appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A manual reusable surgical instrument used to position an implant and trial implant into the body via an impact force.
1576 | 17 | L |  | L09 | INSERT | L0930- Orthopedic surgery handles, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to handles, for which no existing code is appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A manual reusable surgical instrument. It is designed to be attached to the proximal end of a surgical instrument to allow the surgeon to perform manipulations with the instrument, such as rotation of a bone screw or reamer.
1577 | 17 | L |  | L | INSERT | L0932 - Orthopaedic bone preparation protector, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to bone preparation protection plate , for which no existing code is appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A reusable instrument designed to protect the resection of a bone structure during the preparation of the bone.
1578 | 17 | L |  | L09 | INSERT | L0933- Orthopedic implant/instrument assembling device, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to bone preparation protection plate , for which no existing code is appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A reusable instrument designed to protect the resection of a bone structure during the preparation of the bone.
1579 | 17 | Z |  | Z121390 | INSERT | Z12139010 - Orthopaedic surgery templates | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to sterile templates, for which the existing code L0922 (orthopaedic surgery guides, reusable) is not appropriate.Using the existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A surgical instrument designed to determine the appropriate size and placement of an implant for a patient during implantation surgery.
1580 | 17 | L |  | L0911 | INSERT | L091107- Orthopaedic protheses bender, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to bending instruments, for which no existing code is appropriate.Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A reusable manually operated surgical instrument designed to bend orthopaedic devices to an appropriate anatomical shape.
1581 | 17 | Z |  | Z121390 | INSERT | Z12139009 - Orthopaedic surgery check gauge | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to steril deph finder and gap joint testers, for which no existing code is appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A surgical instrument for examining certain joint properties during orthopaedic surgery, e.g. checking ligament tension in the joint gap.
1582 | 17 | Z |  | Z121390 | INSERT | Z12139008 - Orthopaedic surgery pins | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to sterile pins, for which the existing code L0922 (orthopaedic surgery guides, reusable) is not appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A surgical instrument designed to facilitate the correct orientation of an orthopaedic implant or instrument during orthopaedic surgery.
1583 | 17 | L |  | L09 | INSERT | L0935- Orthopaedic surgery punches, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to punches, for which no existing code is appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A hand-held manual reusable surgical instrument designed to densify or grind bone tissue.
1584 | 17 | L |  | L09 | INSERT | L0936- Orthopaedic surgery awls, reusable | reason of change: A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to awls, for which the existing codes L091102 (orthopaedic prostheses reamers ans burs, reusable) and L091201 (orthopaedic surgery rasps, reusable) are not appropriate. Using the existing but inaccurate codes could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A reusable spike-like, surgical instrument with a handle that is used manually to bore holes in the bone and e.g. to open and enlarge the medullary cavity.
1585 | 17 | Z |  | Z121390 | INSERT | Z12139007 - Orthopaedic trial impants | A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to sterile trial, for which no existing code is appropriate. Using an existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A sugical instrument, designed as a copy of a final prosthetic implant or component, used to determine the correct alignment, size, and fit of the final prosthesis.
1586 | 17 | L |  | L09 | INSERT | L0936- Orthopaedic surgery awls, reusable | A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to awls, for which the existing codes L091102 (orthopaedic prostheses reamers ans burs, reusable) and L091201 (orthopaedic surgery rasps, reusable) are not appropriate. Using the existing but inaccurate codes could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A reusable spike-like, surgical instrument with a handle that is used manually to bore holes in the bone and e.g. to open and enlarge the medullary cavity.
1588 | 8 | P |  | P0999 | INSERT | P0914-OSSEOINTEGRATED ORTHOPAEDIC DISTAL FEMORAL IMPLANT | There is no existing code that corresponds to the type of distally loaded osseointegrated implant for patients with amputation, and it is not adequately represented by the name assigned within the existing EMDN codes; INTENDED PURPOSE: The foreseen functionality of the implant is permitting the indicated patients the usage of distal weight bearing socket, diminishing in this manner the uncomfortable ischium charge of existing ischium support sockets, permitting to take maximum advantage of the performances of a distal socket without any proximal hindrances. Anchoring or fixation of the implant in the medullar canal of the residual femur will be performed by means of an intra-medullar stem that can be impacted or cemented. In the case of the press-fit technique, stem osseointegration with the surrounding bone tissue will take place.
1590 | 77 | Z |  | Z121390 | INSERT | Z12139011 - Angular gear | A review of the currently existing EMDN codes shows that none accurately reflect the characteristics and intended use of the device. This intended use applies to angular gear, for which no existing code is not appropriate.Using the existing but inaccurate code could lead to misclassification and confusion regarding the device’s actual function, clinical use, and regulatory requirements. Therefore, a new specific code is necessary to ensure clarity and consistency in classification. intended use: A surgical instrument used to transfer force in surgical rotary instruments (e.g. drills).
1592 | 86 | P |  | P0901040102 | INSERT | P090104010203 EPIPHYSARY HUMERAL COMPONENTS FOR REVERSE PROSTHESES - STEMLESS | This category is not covered by existing epiphysary terms, leading to the use of the -99 'Other' code. Description: A stemless epiphysary humeral component for reverse prostheses is a Class III single-use implant that provides fixation in the humeral metaphysis only. It allows for the attachment of a humeral cup implant which interfaces with a glenosphere implant. Proposed Intended Use: Total reverse shoulder arthroplasty Proposed Indications for Use: Rotator cuff deficiency and a severely painful and/or arthritic joint due to osteoarthritis, post-traumatic arthritis or rotator cuff arthropathy. GMDN 58950 Humeral Metaphyseal Anchor | GMDN 58950 Humeral Metaphyseal Anchor
1593 | 86 | P |  | P0901040101 | INSERT | P090104010103 EPIPHYSARY HUMERAL COMPONENTS FOR ANATOMICAL PROSTHESES – STEMLESS | This category is not covered by existing epiphysary terms, leading to the use of the -99 'Other' code. Description: A stemless epiphysary humeral component for anatomical prostheses is a Class III single-use implant that provides fixation in the humeral metaphysis only. It allows for the attachment of a humeral head implant component. A copy of a representative Instructions for Use (IFU) is included. IFU-0902-60-060 Intended Use: Total anatomic shoulder arthroplasty Indications for Use: A severely painful and/or arthritic joint due to osteoarthritis. GMDN 58950 Humeral Metaphyseal Anchor
1594 | 86 | P |  | P0901040101 | INSERT | P090104010104 EPIPHYSARY HUMERAL COMPONENTS FOR ANATOMICAL PROSTHESES – INSERTS | There is an EMDN for Inserts in the 'REVERSE' levels, however an EMDN for Inserts is required for 'ANATOMICAL' to avoid the use of the -99 'OTHER' code. Description: An epiphysary insert component for anatomical prostheses is a Class III single-use implant that connects the humeral stem to the humeral head component. A copy of a representative Instructions for Use (IFU) is included. IFU 0902-60-178 Intended Use: Total anatomic shoulder arthroplasty Indications for Use: A severely painful and/or arthritic joint due to osteoarthritis; Humeral head fractures; Failed previous shoulder arthroplasty GMDN 60512 Shoulder Humeral Body Prosthesis
1596 | 29 | L |  | L03 | INSERT | L0319 - IMPLANT INSERTERS | missing term
1597 | 29 | L |  | L03 | INSERT | L0320 - TRIAL IMPLANTS | missing term
1598 | 29 | L |  | L03 | INSERT | L0321 - SURGICAL CHISELS | missing term
1599 | 29 | L |  | L03 | INSERT | L0322 - SURGICAL RONGEURS | term missing
1600 | 29 | L |  | L09 | INSERT | L0928 - MANUAL ORTHOPAEDIC BENDER, REUSABLE | missing term
1601 | 29 | L |  | L03 | INSERT | L0323 - SURGICAL INSTRUMENT HANDLES | missing term
1602 | 29 | L |  | L03 | INSERT | L0324 - SURGICAL HAND DRILLS | missing term
1603 | 29 | L |  | L03 | INSERT | L0325 - SURGICAL ALIGNMENT TOOL | missing term
1604 | 29 | L |  | L03 | INSERT | L0325 - SURGICAL IMPLANT TEMPLATE, REUSABLE | missing term
1605 | 29 | L |  | L03 | INSERT | L0326 - BONE AWL, REUSABLE | missing term
1606 | 29 | L |  | L0909 | INSERT | L090904 - ORTHOPAEDIC IMPLANTABLE-DEVICE CUTTER | missing term
1607 | 51 | P |  | P03 | INSERT | P0302 - Non-optical endocapsular devices P030201 - Open-capsule endocapsular devices P030202 - Capsular Tension Rings (CTRs) | Non-optical endocapsular devices used during cataract surgery have increased in numbers, designs, and most importantly intended purposes. Because of this it becomes imperative to differentiate between two different versions a) open bag endocapsular devices that have similar dimensions as the normal human capsule and maintain capsular shape and intracapsular space improving IOL stability and potentially inhibiting cell migration through more effective peripheral stretching and barrier formation and b) capsular tension rings that have significantly increased diameters than the normal human capsule and aim to redistribute forces from intact zonules to buttress areas of absent weak zonules.
1610 | 79 | M |  | M | INSERT | Ferris Mfg. Corp. requests inserting a new level (EMDN code and term) under M0404 (DRESSINGS FOR WOUNDS, SORES AND ULCERATIONS) for polymeric membrane dressings, a device type not currently present in the EMDN. The new code ( M040417 POLYMERIC MEMBRANE DRESSINGS), would be in parallel to other equally different wound dressing types (e.g., M040402 ALGINATE DRESSINGS, M040405 HYDROGEL DRESSINGS). | I. Background The EMDN classification system is the guide for identifying the appropriate code for medical devices listed in the Eudamed.4 These codes are chosen by manufacturers, based upon the real-world use of the medical device.5 Real-world use of the medical device will be driven by the device’s function.1,2,3 Despite being made with relatively few components, polymeric membrane dressings (‘PMDs’) have a carefully orchestrated design which allows PMDs to provide many functions to benefit patients with wounds.8–13 Currently, there is no appropriate EMDN code for polymeric membrane dressings.2,14 This has proven to be a problem. When Ferris Mfg. Corp chose EMDN codes for their line of PMDs (PolyMem wound dressings, ‘PolyMem’), Ferris and our advisors did not fully recognize the implications of the decision. At the time, Ferris was under the impression that the sole purpose of the codes was for stakeholders, including users and NBs, to be able to find all of Ferris’ major PolyMem variants in Eudamed. For that purpose, precision is not important. However, Ferris has more recently learned that the EMDN code of a medical device guides major MDR compliance decisions, such as PMCF searches (of country databases of events and recalls and indices of the scholarly literature) for ‘similar’ medical devices, which are defined as devices in the same ‘generic device group’ based upon the first 6 digits of the EMDN).15 Ferris’ inappropriate initial EMDN code choices have created confusion, added to the administrative burden for both Ferris and our notified body (TÜV Rheinland), led to significant duplication, and proved to be unintentionally misleading to Ferris’ NB.* The founders of Ferris Mfg. Corp. spent 10 years refining the process of making a new wound dressing that could eliminate the excruciating pain children with burns experience at dressing changes.16 The result of those efforts was PolyMem, the first PMD (see description of polymeric membrane dressings, below).10,12,17 PolyMem has been marketed in the EU since 1997 and is approved under the MDD, but not yet under the MDR. MDCG 2018-2 states that the terminology structure of the EMDN, “should not be unnecessarily granular… and should not contain names that are only used by a few… unless it is proven to be advantageous to regulators or the wider healthcare economy…”3 The advantages of PMDs being listed in Eudamed at the proposed higher level of granularity include making PMDs easier to locate in the tree, allowing all variants of PMDs to have a single code, and allowing PMDs to be compared with truly similar devices for State of the Art.14 The generic name, ‘polymeric membrane dressings’ has been widely used by authors of academic papers in the wound care field, by clinicians who specialize in wound care for over 35 years, and by governments and by organizations that create guidelines documents in the US, the EU, the UK, and the rest of the world.11,17–22 This continues to be the case.9,13,23,24 Embase’s Emtree indexing system lists PMDs parallel to hydrogels and hydrocolloids.25
16_2026 | 57 | W | W01 - Reagents |  | NEW | W0105050211 - Trichinella spiralis | There is no specific code for Trichinella spiralis antibody tests, althrough there is IVDR reagents. | NA
17_2026 | 57 | W | W01 - Reagents |  | NEW | W0105050212 - Taeniasis / cysticercosis | There is no specific code for taeniasis antibody tests, althrough there is IVD reagents. | NA
18_2026 | 57 | W | W01 - Reagents |  | NEW | W0105050213 - Toxocara canis | There is no specific code for Toxocara canis antibody tests, althrough there is IVD reagents. | NA
23_2026 | 83 | P | P09 - IMPLANTABLE PROSTHETIC AND OSTEOSYNTHESIS DEVICES | P09120299 Osteosyntheses nails - other | NEW | LENGTHENING NAIL | Regarding the intramedullary nail, a distinction should be introduced to differentiate a nail with a mecanism to lengthen the limbs to a "simple" nail with no mecanism there is no code EMDN for that type of device, We regularly receive reports of incidents involving this type of device | NA
25_2026 | 74 | P | P09 - IMPLANTABLE PROSTHETIC AND OSTEOSYNTHESIS DEVICES | P0999: Orthopaedic prostheses, osteosynthesis devices, devices for tendon and ligament synthesis - other | NEW | STERNAL PROSTHESES | In the code P04 (respiratory prostheses), there are only the code for the tracheobronchial prostheses (P0401). It is necessary to add a subcode to introduce this new term STERNAL PROSTHESES (respiratory prostheses or orthopaedic prostesis ?) there is no code EMDN for that type of device, we have some issue with that type of device in France and also in clinical investigation so it is important to distinguish them easily | NA
26_2026 | 13 | P | P09 - IMPLANTABLE PROSTHETIC AND OSTEOSYNTHESIS DEVICES | P090905: Revision knee prostheses | NEW | HINGE KNEE | Hinge knee are used as revision knee prostheses (P090905, the nearest code), but there is no specific EMDN code for this type of device in this group. The conception of hinge knee is different from the one used for TKA (total knee arthroplasty) and population is usually different. So a EMDN specific to that case should be added | NA
27_2026 | 13 | P | P09 - IMPLANTABLE PROSTHETIC AND OSTEOSYNTHESIS DEVICES | P090999: Knee prostheses - other | NEW | MODULAR KNEE | Modular knee are a type of knee prostheses, but there is no EMDN code for this type of device. The population and conception of this kind of prothesis id different frome the hinge one and the one for TKA and concern a specific population with a important bone defect | NA
30_2026 | 97 | P | P: Implantable prosthetic and osteosynthesis devices | P0704: Vascular and cardiac endoprostheses | NEW | Intracardiac implant for ATRIAL SHUNT | These devices are mainly used in cardiopediatry and are intented for intracardiac purpose (permanent atrioseptostomy). These devices are septal implants used in bailout procedures for some severe cardiac malformations. Specific EMDN codes already exist for carotid shunts (C019006) or intracoronary shunts (C03900202) , but none for implantable intracardiac shunts although they are different specific category of shunts. After searching in multiple EMDN codes specifically dedicated to Cardiovascular devices or in other EMDN codes related to broader cardiac or vascular devices, the only codes I could find were either anatomically incorrect (carotid, coronary) or not accurate enough (i.e. P0799) or already dedicated to another specific category of cardiac devices (J0190 = active implants only). This is the reason why I think that a specific EMDN code should be created for intracardiac devices indicated for atrial shunts.
32_2026 | 70 | P | P07 - Vascular and cardiac prostheses | P070402: Vascular stents | NEW | P07040203 - INTRACRANIAL VASCULAR STENT | There is a requirement to establish a new EMDN code specifically for intracranial vascular stents used in neurovascular applications within interventional neuroradiology. At present, the closest available code is EMDN P070402 “vascular stents”, which covers coronary stents (P07040201) and peripheral cardiac stents (P07040202), but does not include intracranial vascular stents. We propose adding a new, highly specific EMDN code under Category P: P07040203 INTRACRANIAL VASCULAR STENT, reserved exclusively for neurovascular use. For reference, the corresponding GMDN code for intracranial vascular stents is 46352 “Bare-metal intracranial vascular stent”. | GMDN 46352 Bare-metal intracranial vascular stent A non-bioabsorbable tubular device typically intended to be implanted into the base or parent artery of an intracranial aneurysm (e.g., wide-neck aneurysm situated at the base of a bifurcation) to facilitate the delivery of embolics to fill the aneurysm, facilitate clotting within the aneurysm by slowing blood flow into it, and/or to provide support for a neurovascular embolization coil placed inside the aneurysm. It is made of uncoated metal [e.g., nickel-titanium alloy (Nitinol)] and self-expands after it is delivered to the site of implantation and released (e.g., from a dedicated delivery instrument). Disposable devices associated with implantation may be included.
33_2026 | 91 | V | V08: Healthcare activities supportive equipment and aids | V0804: Patient immobilisers (in diagnostic or therapeutic procedures) | NEW | RESTRAINT SYSTEM | The medical devices to restrain the motion mechanically/physically, warrants the patient safety, patient with cognitive problem, are not represented in the EMDN . All these types of system could be grouped under a same EMDN code (abdominal safety belt, ankle/wrist restraints, safety sleeping to prevent falls, etc...); In France, we had in the past, several serious incidents that have resulted in death. These types of devices can be installed on a medical bed or a wheelchair. They are different from splints; The restrain systems are different from splints and are separate medical devices, not accessories for beds or wheelchairs. The closest code could be V0804 (= PATIENT IMMOBILISERS in diagnostic or therapeutic procedures) but the restrain systems are not used during diagnostic or therapeutic procedures, they are used in the daily life.
37_2026 | 47 | A | A99: Devices for administration, withdrawal and collection - other | A99: Devices for administration, withdrawal and collection - other | NEW | A99 - INSULIN PEN INJECTORS | There are insulin pens on the market that can be refilled with cartridges, which are medical devices. Some pens are even connected, enabling the amount of insulin administered to be tracked electronically.
48_2026 | 51 | Q | Q02 : OPHTALMIC DEVICES |  | NEW | P03XX - RING (OPHTALMOLOGY) | There are several types of rings used in ophthalmology with different indications : for example, intracorneal rings segments indicated for keratoconus and low myopia, capsular tension rings to prevent capsular bag collapse during cataract surgery and Malyugin rings for managing small pupils (miosis) during cataract surgery. =>It would be relevant to have at least one EMDN code for these devices like “Ring (ophthalmology)”. They are implantable. For information, we have received 18 reports in the last 5 years on rings used in ophtalmology, most of them on Malyugin rings and capsular tension rings. Phrase alternative s'il ne faut pas préciser le nombre d'incidents : "We regularly receive reports of incidents involving this type of device."
53_2026 | 49 | Z | Z12 : MEDICAL EQUIPMENT AND RELATED ACCESSORIES, SOFTWARE AND CONSUMABLES | Z12019008: Blood heaters | NEW | Z1201900801 - blood heaters for dialysis | there is no specific code for the blood heater in dialysis, which can be different from other blood heaters used in other medical fields add code level 6 "Z1201900801 - blood heaters for dialysis"
62_2026 | 37 | H | LINEAR STAPLERS FOR VIDEOSURGERY | H020301 | NEW | H020301040103 ROBOTIC SINGLE PATIENT STRAIGHT LINEAR STAPLERS WITH BLADE FOR VIDEOSURGERY, SINGLE-USE | Intended use: The devices are intended for transection and resection of tissue. IFU not available yet.
63_2026 | 37 | H | LINEAR STAPLERS FOR VIDEOSURGERY | H020301 | NEW | H020301040203 ROBOTIC SINGLE PATIENT STRAIGHT LINEAR STAPLERS WITHOUT BLADE FOR VIDEOSURGERY, SINGLE-USE | Intended use: The devices are intended for transection and resection of tissue. IFU not available yet.
64_2026 | 37 | H | LINEAR STAPLERS FOR VIDEOSURGERY | H020301 | NEW | H020301050203 ROBOTIC SINGLE PATIENT ARTICULATED LINEAR STAPLERS WITHOUT BLADE FOR VIDEO SURGERY | Intended use: The devices are intended for transection and resection of tissue. IFU not available yet.
65_2026 | 37 | H | LINEAR STAPLERS FOR VIDEOSURGERY | H020301 | NEW | H020301050103 ROBOTIC SINGLE PATIENT ARTICULATED LINEAR STAPLERS WITH BLADE FOR VIDEO SURGERY | Intended use: The devices are intended for transection and resection of tissue. IFU not available yet.
66_2026 | 37 | H | LINEAR STAPLERS FOR VIDEOSURGERY | H020302 | NEW | H0203020102 ROBOTIC SINGLE-USE CURVED CIRCULAR STAPLERS FOR VIDEOSURGERY | Intended use: The devices are intended for creation of anastomoses. IFU not available yet.
67_2026 | 37 | H | LINEAR STAPLERS FOR VIDEOSURGERY | H020302 | NEW | H0203020103 ROBOTIC SINGLE-USE CIRCULAR STAPLERS FOR VIDEOSURGERY | Intended use: The devices are intended for creation of anastomoses. IFU not available yet.