## REQUESTS 2026
FB_ID | CATEGORY | EMDN_GROUP | FB_NOMEN_CODE | DESCRIZIONE EMDN v.2025 | FB_ACTION_TYPE | FB_QUESTION_3 | FB_SUPPORT_INFO | OTHER NOMENCLATURES
1531 | M |  | M | DEVICES FOR GENERAL AND SPECIALIST DRESSINGS | INSERT | code pour accessoire de chaussette non compressive | Nom commercial : Protective Liner Sock Nature du produit : Chaussette textile tricotée, non compressive Usage prévu : Le produit est destiné à être utilisé comme accessoire non actif porté sous des dispositifs médicaux de compression (tels que Mobiderm, Biflex Self Adjust, etc.). Fonction principale :Protection de la peau contre les irritations et frottements dus au port prolongé d’un dispositif compressif Caractéristiques principales :Textile, Ne fournit aucune compression, Usage non stérile, Aucun effet thérapeutique propre
1532 | M |  | M030499 | ELASTIC BANDAGES, SUPPORT AND COMPRESSION - OTHER | INSERT | M030407 - Mobilizing bandages | Mobiderm Mobilizing pad and bandage for edema are mobilizing devices intended for the treatment of upper or lower limb edema. The devices feature Mobiderm technology consisting of foam blocks encased between two sheets of non-woven material.
1533 | M |  | M030499 | ELASTIC BANDAGES, SUPPORT AND COMPRESSION - OTHER | INSERT | M030406 - Compression and mobilizing garments | Devices are mobilizing and compressive garments are intended for the treatment of edema (e.g. lymphedema). The garments are composed of: - on the internal layer, Mobiderm® technology consisting of foam blocks encased between 2 sheets of non-woven fabric; - on the external layer, soft, elastic beige fabric and hook-and-loop fasteners, allowing the garment to be adjusted to limb volume.
1534 | M |  | M030499 | ELASTIC BANDAGES, SUPPORT AND COMPRESSION - OTHER | INSERT | M030407 - Mobilizing bandages | Mobiderm mobilizing devices are intended for the treatment of upper or lower limb edema. Mobiderm devices are intended to be used under a compression bandage. In this way, they provide subcutaneous drainage via Mobiderm technology, consisting of foam blocks positioned randomly between two sheets of non-woven material.
1536 | V |  | V080399 | MEDICAL CUSHIONS - OTHER | INSERT | V080303 - ergonomic cushion | The device is memory foam pillow that supports the cervical vertebrae and adapts to body shape.
1539 | V |  | V92 | MEDICAL DEVICE SOFTWARE - NOT INCLUDED IN OTHER CLASSES | INSERT | Software medical device for skin condition monitoring | Intended purpose - Software medical device for skin condition monitoring.
1541 | V |  | V08068099 | MEDICAL BEDS - OTHER ACCESSORIES | INSERT | V08068003 MOBILITY ASSISTANCE SYSTEMS | We manufacture a bed accessory that helps users get out of bed and sit up straight – it is not a bedrail.
1542 | V |  | V0803 | MEDICAL CUSHIONS | INSERT | V080303 NON ANTI-DECUBITUS MEDICAL CUSHIONS | There are medical cushions that are seat cushions and not anti-bedsore cushions. See example of KALLI HR or back in the IFU attached.
1546 | Y |  | Y0906 | BODY PROTECTION DEVICES | INSERT | Y0906XX HAND PROTECTION | Safety mittens
1549 | V |  | V0880 | MEDICAL SUPPORT EQUIPMENT - ACCESSORIES | INSERT | V0880XX ENEMA DEVICE | Device for washing intimate areas with a rectal or vaginal cannula
1553 | R |  | R9080 | RESPIRATORY AND ANESTHESIA DEVICES - ACCESSORIES NOT INCLUDED IN OTHER CLASSES | INSERT | Code: R9081 (suggested; the EMDN committee will assign the official code) Term: Oxygen flow splitters and passive distribution device | Non-invasive, non-powered devices designed to split and regulate medical oxygen from a single pressurized source to multiple patient delivery lines. These devices enable independent oxygen flow control for each outlet and are commonly used in resource-limited settings to optimize oxygen therapy delivery to more than one patient. The devices are typically used in conjunction with oxygen cylinders or concentrators, and connect to standard patient delivery accessories such as nasal cannulas or masks
1556 | V |  | V0399 | MEASUREMENT DEVICES - OTHER | INSERT | V0303 Volatile organic compound (VOC) measurement breath analyser | An electrically-powered portable unit to be used in the home to measure the concentration of volatile organic compounds (VOCs) [e.g., acetone] in exhaled breath, using an analytical detection method (e.g., chemiresistive sensors). It consists of a hand-held unit with a breathing mouthpiece, and software for results analysis and viewing on a computerized device. Exhaled VOCs measurements are used for monitoring patients with chronic conditions (e.g., diabetes, asthma, metabolic dysfunction-associated steatohepatitis) and healthy persons; it is not a dedicated alcohol breath analyser.
1557 | M |  | M0301 | HYDROPHILIC AND NON-WOVEN GAUZE BANDAGES | INSERT | M030130-HYDROPHOBIC COTTON BANDAGES, | We don’t have any option to choose for: 100 % cotton bandages made of row not bleached cotton. Note/problem: Bleached cotton is hydrophilic Row not bleached cotton is hydrophobic Proposal, please provide new code for: HYDROPHOBIC COTTON BANDAGES
1560 | A |  | A020199 | SYRINGES, SINGLE-USE - OTHER | INSERT | A020110 - RAULERSON SPRING-WIRE INTRODUCTION SYRINGE | The Raulerson Spring-Wire IntroductionSyringe is used to aid central venous catheter insertion. The Raulerson Syringe fulfils this purpose by performing two functions: first, it aids in venous location via blood flashback. A suitable introducer needle is attached through the integral male Luer on the distal end of the syringe. When vessel introduction is made, blood flashback will be visible through the clear polypropylene syringe barrel. Second, the Raulerson Syringe allows insertion of a spring-wire guide (SWG) into the located vessel. Once the Raulerson Syringe is removed, a central venous catheter can advanced over the SWG for appropriate device positioning. The syringe allows for vessel location and passage of the guide wire through the syringe obviating the need for separating the introducer needle from the syringe. It is not a syringe for administration or collection-->not fitting with A category Reference section: C0102: Central i.v. catheters (it coul be included in C010280: Central venous catheters - accessories?)
1563 | J |  | J010380 | IMPLANTABLE VENTRICULAR ASSISTANCE SYSTEMS - ACCESSORIES | INSERT | IMPLANTABLE VENTRICULAR ASSISTANCE SYSTEMS - ACCESSORIES - LVAD-Shirt to transport peripheral devices | Intended Use: The GerHeart LVAD Shirt is a functional medical garment designed to securely and close to the body for carrying the peripheral devices of the Abbott HeartMate3™ and thus alleviating or compensating for the disability caused by these devices. The GerHeart LVAD Shirt was specifically developed for use in patients whose end-stage heart failure is being treated long-term with a ventricular assist device such as the Abbott HeartMate III. Reference section: J010380: Implantable ventricular assistance systems - accessories
1564 | W |  | W02020399 | BLOOD GROUPING INSTRUMENTS - OTHER | INSERT | W02020303 - Blood Grouping Centrifuges W02020304 - Blood Grouping Incubators | Incubators and Centrifuges are instruments intended to be used in combination with other devices/reagents for blood grouping assays.
1566 | R |  | R90 | RESPIRATORY AND ANAESTHESIA DEVICES - VARIOUS | INSERT | Code R9010 - Term Medicine chamber spacer, reusable | (Derived from GMDN code 38018) A device intended to be placed between a nebulizer or a metered dose inhaler (MDI) and the patient's mouth, to function as a reservoir into which an aerosol medication is dispensed in order to minimize delivery of large aerosolized particles. It is typically made of plastic materials and in the form of a small tube-like container. By holding the drug(s) after aerosolization (e.g., via an internal valve) this device reduces the direct delivery of large aerosolized particles which would otherwise deposit in the mouth/upper airway, but are intended for the lower airway. This is a reusable device.
1567 | R |  | R90 | RESPIRATORY AND ANAESTHESIA DEVICES - VARIOUS | INSERT | Code R9011 - Term Atomizer, ventilatory | (Derived from GMDN 65517) A non-powered device intended to accept a medication canister and to be integrated within a mechanical or manual ventilation assembly (e.g., ventilator breathing circuit/endotracheal tube, pulmonary resuscitator) to provide liquid medication in aerosolized form for the patient to breathe during ventilation. It typically includes a medicine chamber spacer; unlike a nebulizer it lacks a baffle. This is a reusable device.
1587 | V |  | V9099 | VARIOUS DEVICES NOT INCLUDED IN OTHER CLASSES - OTHER | INSERT | V9019 - CATHETER CLAMP WITH FASTENER | The Catheter Clamp with Fastener devices are non-invasive, single use devices. The Catheter Clamp with Fastener is intended to be used for vascular catheter securement, as a secondary securement site and may be used in combination with sutures or staples to prevent the migration of the catheter.
1591 | M |  | M030499 |  | INSERT | M030406 - Compression and mobilizing garments | The Cicatrex compression principle helps reorganize collagen fibers in a plane parallel to the skin, thus limiting uncontrolled scarring of connective tissue. Unsightly scars and dysfunctional adhesions are reduced by compression. Cicatrex compression devices provide a minimum compression of 10 mmHg. Models for Ehlers-Danlos syndrome provide compression of between 6 and 13.5 mmHg.
1595 | L |  | L09 |  | INSERT | L0928 - ORTHOPAEDIC SURGERY DISTRACTORS, SINGLE USE | Term missing
02_2026 | A, C, F, G, K, N, Q, R, U, V | NA | NA |  | ED | (single use) | We noticed that for the users of the EMDN, it is not clear that A, C, F, G, K, N, Q, R, U categories deals ONLY with "single use" devices. For example, we will check if a cardiac implant or equipment is not in the category C. It would be very usefull to mention for the category C : "C: Cardiocirculatory system devices (single use)". Same comment for categories A, C, F, G, K, N, Q, R, U and V.
03_2026 | Z | Z12: Instruments for functional explorations and therapeutic interventions | Z120804: Neonatology instruments |  | MOVE AND EDIT |  | The type Z120804 gathered a lot of instruments and equipments dealing with neonatalogy and paediatry also. This type is located inside the type "Z1208: Obstetrics and gynaecology instruments" and is difficulty to find easily. We suggest to move the type Z120804 directly under the type "Z12: Instruments for functional explorations and therapeutic interventions" and to name it "Neonatalogy and paediatric instruments". In the category "V: Various medical devices" dealing with single use devices, you have "V02: Neonatalogy and paediatric devices". It would be easier if you follow the same "logical way" to find a device, even if it is a single-use one, an instrument/equipment or an implant.
04_2026 | W | W06 - TO BE DEFINED |  |  | NEW | W06 - Information system application program | There is no code specific for IVD programs that are independant from an instrument, althrough there are GMDN codes for them | GMDN 57967, Medical equipment clinical data interfacing software
05_2026 | W | W06 - TO BE DEFINED |  |  | NEW | W0601 - Information system application program software, clinical laboratory | There is no code specific for IVD softwares like expert softwares that are independant from an instrument and are of generic use, not specific of category of devices | GMDN 57967, Medical equipment clinical data interfacing software
06_2026 | W | W06 - TO BE DEFINED |  |  | NEW | W0602 - Information system application program middleware, clinical laboratory | There is no code specific for IVD middlewares | GMDN 57967, Medical equipment clinical data interfacing software
14_2026 | W | W01 - Reagents |  |  | NEW | W0102019018 - fetuin-A | There is no specific code for the determination of ALPHA 2 HS-GLYCOPROTEINE (Fetuin A) althrough there is dedicated IVD reagent. | NA
15_2026 | W | W01 - Reagents |  |  | NEW | W01010132 - Glucose-6-phosphate dehydrogenase | There is no specific code for the determination of Glucose-6-phosphate dehydrogenase althrough there is dedicated IVD reagents. | NA
22_2026 | H | H9008 - SUTURE device | H900899 Single-use instruments for sutures - other |  | NEW | H900803 - SUTURE NEEDLE PASSERS, SINGLE USE | EMDN U1299 (single-use instrumentation for the urogenital system (non-endoscopic)) used by the manufacturer CAPIO (Boston Scientific) does not correspond to all its uses, particularly endoscopic and orthopaedic uses, and does not highlight the relationship with suturing. The equivalent to suture needle passers, reusable (L031309) doesn't exist for a single use device H900802 : single-use needle holders is not for passers | GMDN 57874 Suturing unit, single-use
28_2026 | Z | Z12 - Instruments for functional explorations and therapeutic interventions | Z12021199: Orthopaedic endoscopy instruments - other |  | NEW | ARTHOSCOPY PUMP | there is no EMDN code for this type of device which includes ARTHOSCOPY PUMP in the proposed term. Arthoscopic pump is used to manage fluids during arthroscopy procedures | NA
29_2026 | C | CARDIOCIRCULATORY SYSTEM DEVICES | C0190: Devices for vascular procedures - various |  | NEW | Intracardiac ballon catheters for ATRIAL SHUNT | These devices are mainly used in cardiopediatry and are intented for intracardiac purpose (temporary atrioseptostomy). These devices are intracardiac balloon catheters used in bailout procedures for some severe cardiac malformations. Specific EMDN codes already exist for carotid shunts (C019006) or intracoronary shunts (C03900202) , but none for intracardiac shunts although they are different specific category of shunts. After searching in multiple EMDN codes specifically dedicated to Cardiovascular devices or in other EMDN codes related to broader cardiac or vascular devices, the only codes I could find were either anatomically incorrect (carotid, coronary) or not accurate enough (i.e. P0799) or already dedicated to another specific category of cardiac devices (J0190 = active implants only). This is the reason why I think that a specific EMDN code should be created for intracardiac devices indicated for atrial shunts.
31_2026 | J | J01 - Cardiac functionality implantable devices | J010580: Implantable defibrillators - accessories |  | NEW | SUBCUTANEOUS IMPLANTABLE DEFIBRILLATORS - ACCESSORIES | Proposal to make a parallel with J010580 "IMPLANTABLE DEFIBRILATORS - ACCESSORIES" already existing elsewhere and to make a difference between SUBCUTANEOUS and NON SUBCUTANEOUS implantable defibrilators
34_2026 | V | V03: Measurement devices | V0399: Measurement devices - other |  | NEW | Percutaneous interstitial-fluid glucose monitoring system - sensor | A code for the wearable CGM sensor is necessary in order to distinguish the blood sugar monitoring systems (current codes Z12040115, Z1204011501, Z1204011502, Z120411585 and Z1204011599) from the device applied on the skin, which measure the interstitiel glycemia and stays several days (ex : FreeStyle libre or dexcom sensor). - Blood sugar is different from interstitial glycemia; - The sales volumes for sensor are huges in Europe; - The number of report incidents is important; - The sensor can not be qualified of implantable (as code J0602) because a sensor is applied during less one month (the time is different according to the model/manufacturer); Proposal term : Percutaneous interstitial-fluid glucose monitoring system - sensor; No code means the follow of interstial glycemia in the current EMDN.
35_2026 | V | V03: Measurement devices | V0399: Measurement devices - other |  | NEW | Percutaneous interstitial-fluid glucose monitoring system - reader/receiver | A code for the receiver/reader associated with a CGM sensor is necessary. The codes should follow each other. Proposal term : Percutaneous interstitial-fluid glucose monitoring system - reader/receiver No code means the follow of interstial glycemia in the current EMDN.
36_2026 | J | J04: Implantable pumps | J0401: Implantable pumps, electronic |  | NEW | IMPLANTABLE INSULIN PUMPS | There is no code for implanted insulin pumps, as these systems differ from external insulin pumps. They are available and used in France, particularly for patients with unstable diabetes. Code J0401 is not specific enough for the field of insulin therapy. Medical devices are used independently by patients and require increased vigilance and traceability.
38_2026 | Z | Z12: Instruments for functional explorations and therapeutic interventions | Z12040192: General medicine diagnosis and monitoring instruments - medical device software |  | NEW | INSULIN PUMP - MEDICAL DEVICE SOFTWARE | Many software programs allow users to track blood glucose levels and insulin administration. There are also specific applications that enable users to control the administration system and view related data.
39_2026 | B | B03: Apheresis devices | B030104: Apheresis multiple blood component collection devices |  | NEW | APHERESIS STEM CELLS COLLECTION DEVICES | Stem cells can be collected from a donor. This involves apheresis collection. This collection is different from therapeutic apheresis and therefore does not fall under section B0302. If a new code cannot be created (example B030105: apheresis stem cells collection devices), the closest code is B030104: Apheresis multiple blood component collection devices.
40_2026 | Z | Z12: Instruments for functional explorations and therapeutic interventions | Z120290: Various instruments for endoscopy and mini-invasive surgery |  | NEW | Z12029018 - Irrigation and suction endoscopic pump | There is no provision to describe pumps used for irrigation and suction during endoscopic procedures. It was to be differenciated in regards to Infusion pumps (e.g. code A03010105, or Z12030301) as it is not intended for vasculary system, nor enteral intended use (e.g. code A08..). Moreover the alternative solution are to use the codes "other" for exemple - but it is not satisfactory : -Z12020599 Upper gastrointestinal tract endoscopy instruments - other. -Z12020699 Lower gastrointestinal tract endoscopy instruments - other. -Z12020799 Genitourinary endoscopy instruments - other. 1) Add Codes Level 5 for the 3 sub-categories of endoscopic region: -Z12020512 Upper gastrointestinal tract endoscopy - irrigation and suction pump. -Z12020608 Lower gastrointestinal tract endoscopy - irrigation and suction pump. -Z12020714 Genitourinary endoscopy - irrigation and suction pump. 2) other solution: add a broader code under Z120290 Various instruments for endoscopy and mini-invasiv surgery ==> level 5 code Z12029018: irrigation and suction endoscopic pumps
44_2026 | R | R90: Respiratory and anaesthesia devices - various |  |  | NEW | R9010 or Q0107 : Mandibular advancement device | These devices are used for snoring and obstructive sleep apnea. They are an increasingly popular alternative to CPAP device. The code exists "Q030102 antisnoring and obstructive sleep apnoea devices-other" (actually used by manufacturers) but it is part of the section "Nasopharyngeal devices" whereas this device is positioned in the mouth and is therefore not a nasopharyngeal device (according to the definition). Add code level 3 to sub-categorie Q01, which could called : Q0107 - Advanced mandibular prosthesis Or, add this code to categorie : RESPIRATORY AND ANAESTHESIA DEVICE - VARIOUS : so a new code R9010 - Advanced mandibular prosthesis
45_2026 | V | V09: Fluids/gases for clinical/therapeutic use | Z120309: Medical/medicinal gas pipeline systems and related accessories |  | NEW | Z12030901 : Medical gas pressure regulator | There is no specific code for this part of the gas network. However this is a sub-section of the gas network system that is sufficiently widely used to warrant a dedicated code, Add code level 5 to sub-categorie Z120309 Medical/medicinal gas pipeline systems and related aceessories that could be called : Z12030901 : Flow meter regulator for medical gases
46_2026 | R | R90 : Respiratory and anaesthesia devices - various |  |  | NEW | Z120310 : High Flow Therapy generator ; R9010 : High Flow Therapy generator | There is a code for the consumable (R0301020302 - High Flow Therapy Nasal Cannulas (HFNC)) but not for the generator. Some ventilators can perform this type of specific treatment, but there are also devices dedicated solely to this function that are widely available on the market. It is a separate dedicated system that requires dedicated code because it is a widely available device on the market and that there is already a dedicated code for the associated consumable. Moreover, the use of this device became widespread during the COVID crisis. Add code level 3 to sub-categorie : Z1203 - Instruments to support and monitor vital signs that coulb be called : Z120310 : High Flow Therapy generator but the most appropriate solution is still to add a new code in the dedicated section R - Respiratory and anaesthesia devices : R9010 : High Flow Therapy generator
47_2026 | V | Various medical device | Z120309: Medical/medicinal gas pipeline systems and related accessories |  | NEW | Z12030902 : gas mixer | There is no specific code for this component of the gas pipeline systems. Add code level 5 to sub-categorie Z120309 Medical/medicinal gas pipeline systems and related aceessories that could be called : Z12030902 : gas mixer
49_2026 | Z | Z12 : MEDICAL EQUIPMENT AND RELATED ACCESSORIES, SOFTWARE AND CONSUMABLES | Z121202: Therapeutic and surgical ophtholmological treatments instruments |  | NEW | Z121202xx for RETINAL CRYOPEXY SYSTEM and EMDN code for its consummables : "RETINAL CRYOPROBE, SINGLE-USE" and "RETINAL CRYOPROBE, REUSABLE". | The retinal cryopexy system is used to treat various retinal pathologies (retinal tears, retinal detachments, …). It delivers controlled extreme cold (-60°C to -80°C) transsclerally to create a chorioretinal adhesion, primarily for treating retinal tears, retinal detachment, or peripheral retinal lesions. The retinal cryopexy consists of a cryogenic gas generator and a cryoprobe (either reusable or single-use). EMDN codes "Cryosurgery equipment" (Z120102) and "CRYOTHERAPY AND THERMOTHERAPY DEVICES" (M9001) exist but it would be relevant to have a specific code for this device used in ophtalmology with specific EMDN codes like "RETINAL CRYOPEXY SYSTEM" and its consummables "RETINAL CRYOPROBE, REUSABLE" and "RETINAL CRYOPROBE, SINGLE-USE". For information, we have received 12 reports in the last 5 years for this device. We regularly receive reports of incidents involving this type of device.
50_2026 | Q | Q02 : OPHTALMIC DEVICES | Z121202: Therapeutic and surgical ophtholmological treatments instruments |  | NEW | Z121202xx - ELECTROMEDICAL DEVICE FOR TREATMENT OF DRY EYES" | These are electromedical devices to treat dry eye disease. There are different types of medical devices available for dry eye disease including artificial tear drops, lubrificating gels, but also electromedical devices : device to stimulate the meibomian glands, Intense Pulsed Light therapy. =>There is EMDN code "OPHTHALMIC DRESSINGS IN THE FORM OF EYE DROPS/GEL/CREAMS" (M040305) but it would be relevant to add EMDN code specifically for electromedical devices like “ELECTROMEDICAL DEVICE FOR TREATMENT OF DRY EYES”.
51_2026 | R | R01 : RESPIRATORY AND ANAESTHESIA DEVICES | R0101: Naso-oropharyngeal tubes |  | NEW | R010199 - ENDOTRACHEAL INSTILLATION CATHETER | There is no EMDN code for endotracheal instillation catheter used for surfactant instillation as part of the treatment of respiratory disorders in premature newborns. insert new code for endotracheal instillation catheter : R010103 with de wording "endotracheal instillation tubes". They are single-use devices.
52_2026 | V | V09 : various medical devices |  |  | NEW | V0906 - medical gas cylinder/bottles | there is no specific code for the gas used in bottles ; V09 code is for gases in general add code level 3 V0906 "medical gas cylinder/bottles" in whom can the incident referring to specific gas bottles and cylinders be included
54_2026 | R | R90 : Respiratory and anaesthesia devices - various |  |  | NEW | R9002 - LARYNGOSCOPE BLADES, REUSABLE | An EMDN code exists for single-use laryngoscope blades (R9002) but there is no EMDN code for reusable laryngoscope blades. insert new code for laryngoscope reusable blades or modify the wording of the code R9002 to add reusable blades ( R9002 - laryngoscope blades, single-use and reusable)
61_2026 | K | ENDOTHERAPY AND ELECTROSURGICAL DEVICES | K010202 |  | NEW | K01020206 ROBOTIC SURGERY HOOKS, SINGLE-USE | Intended use: The hook is indicated for soft tissue incisions when bleeding control and minimal thermal injury are desired. IFU not available yet.
68_2026 | T | PATIENT PROTECTIVE EQUIPMENT AND INCONTINENCE AIDS (EXCLUDING PERSONAL PROTECTIVE EQUIPMENT - PPE) | T040101 |  | ED | Incontinence hygiene products
69_2026 | T | PATIENT PROTECTIVE EQUIPMENT AND INCONTINENCE AIDS (EXCLUDING PERSONAL PROTECTIVE EQUIPMENT - PPE) | T04010101 |  | ED | Rectangular incontinence hygiene products
70_2026 | T | PATIENT PROTECTIVE EQUIPMENT AND INCONTINENCE AIDS (EXCLUDING PERSONAL PROTECTIVE EQUIPMENT - PPE) | T04010102 |  | ED | Shaped incontinence hygiene products including Pads and liners (anatomic shape as well)
71_2026 | T | PATIENT PROTECTIVE EQUIPMENT AND INCONTINENCE AIDS (EXCLUDING PERSONAL PROTECTIVE EQUIPMENT - PPE) | T04010103 |  | ED | Incntinence products with integrated fixing system
72_2026 | T | PATIENT PROTECTIVE EQUIPMENT AND INCONTINENCE AIDS (EXCLUDING PERSONAL PROTECTIVE EQUIPMENT - PPE) | T04010104 |  | ED | Incontinence hygiene pants
73_2026 | T | PATIENT PROTECTIVE EQUIPMENT AND INCONTINENCE AIDS (EXCLUDING PERSONAL PROTECTIVE EQUIPMENT - PPE) | T04010199 |  | ED | Incontinence hygiene products - other
74_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W010218 |  | NEW | Clinical Mass Spectrometry
75_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W01021801 |  | NEW | Steroids - Mass Spectrometry (LC-MS/MS)
76_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180101 |  | NEW | Single-parameter Steroids - Mass Spectrometry (LC-MS/MS)
77_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180102 |  | NEW | Multi-parameter Steroids - Mass Spectrometry (LC-MS/MS)
78_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W01021802 |  | NEW | Biogenic Amines - Mass Spectrometry (LC-MS/MS)
79_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180201 |  | NEW | Single-parameter Biogenic Amines - Mass Spectrometry (LC-MS/MS)
80_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180202 |  | NEW | Multi-parameter Biogenic Amines - Mass Spectrometry (LC-MS/MS)
81_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W01021803 |  | NEW | Therapeutic Drug Monitoring - Mass Spectrometry (LC-MS/MS)
82_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180301 |  | NEW | Single-parameter Therapeutic Drug Monitoring - Mass Spectrometry (LC-MS/MS)
83_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180302 |  | NEW | Multi-parameter Therapeutic Drug Monitoring - Mass Spectrometry (LC-MS/MS)
84_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W01021804 |  | NEW | Drugs of Abuse / Toxicology - Mass Spectrometry (LC-MS/MS)
85_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180401 |  | NEW | Single-parameter Drugs of Abuse / Toxicology - Mass Spectrometry (LC-MS/MS)
86_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102180402 |  | NEW | Multi-parameter Drugs of Abuse / Toxicology - Mass Spectrometry (LC-MS/MS)
87_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W01021890 |  | NEW | Other Immunochemistry Reagents - Mass Spectrometry (LC-MS/MS)
88_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102189001 |  | NEW | Other Single-parameter Immunochemistry Reagents - Mass Spectrometry (LC-MS/MS)
89_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102189002 |  | NEW | Other Multi-parameter Immunochemistry Reagents - Mass Spectrometry (LC-MS/MS)
90_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102152012 |  | NEW | Single-parameter Controls - Immunochemistry – Mass Spectrometry (LC-MS/MS)
91_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102152212 |  | NEW | Standards and Calibrators - Immunochemistry – Mass Spectrometry (LC-MS/MS)
92_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102152101 |  | NEW | Multi-parameter Controls - Immunochemistry – Mass Spectrometry (LC-MS/MS)
93_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102152199 |  | NEW | Multi-parameter Controls - Immunochemistry – Others
94_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102160305 |  | NEW | bHCG - RT & POC
95_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0102160904 |  | NEW | Procalcitonin (PCT) RT & POC
96_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0104080609 |  | NEW | Nucleic Acid Identification - manual / automated AmpC
97_2026 | W | IN VITRO DIAGNOSTIC MEDICAL DEVICES | W0104080610 |  | NEW | Nucleic Acid Identification - manual / automated MRC-1
1525 | P |  | P090804050102 | METAL FEMORAL HEADS, PARTIAL HIP REPLACEMENT | UPDATE | P090804050102 - METAL FEMORAL HEADS FOR ANATOMICAL ARTICULATION | The head has an anatomical diameter (50 mm for example) and is intended for articulation with an anatomical acetabulum (in the case of a partial hip prosthesis)
1526 | P |  | P090804050202 | METAL FEMORAL HEADS, TOTAL HIP REPLACEMENT | UPDATE | P090804050202 - METAL FEMORAL HEAD FOR ARTIFICIAL ARTICULATION | A head with a small non-anatomical diameter (e.g. 28 mm) intended to articulate with a prosthetic component (acetabular component in the case of a total hip prosthesis or mobile cup in the case of a partial hip prosthesis)
1527 | Q |  | Q01010301 | DENTAL MEDICATION COMPOUNDS WITH DISINFECTANTS, ANTIBIOTICS AND ANTI-INFLAMMATORIES | MOVING | Oral healthcare product in the form of toothpaste for Dentine Hypersensitivity Q01010301 Oral healthcare product in the form of toothpaste for restoring & strengthening teeth Q01010399 Oral healthcare product in the form of toothpaste for active remineralisation Q01010399 Oral healthcare product in the form of toothpaste for Enamel protection Q01010301 | Oral healthcare product in the form of toothpaste for Dentine Hypersensitivity Q01010301 Oral healthcare product in the form of toothpaste for restoring & strengthening teeth Q01010399 Oral healthcare product in the form of toothpaste for active remineralisation Q01010399 Oral healthcare product in the form of toothpaste for Enamel protection Q01010301
1528 | R |  | R03010302 | AEROSOL PORTABLE INHALERS | INSERT | R03010302 | Aerosol portable inhalers
1530 | M |  | M0201050202 | COTTON GAUZE PADS, WITH X-RAY DETECTABLE THREAD, NON-STERILE | UPDATE | Dear Sir /madam , Could you please check and correct code and/or matching text for: mo201050102 Cotton gauze pads, without X-ray detectable thread, non-sterile. Because mo201020202 has the same text as mo201050102 | please see both
1537 | Z |  | Z120615 | THERAPEUTIC LASERS | INSERT | sad | sadf
1538 | Z |  | Z11050182 | MMAGNETIC RESONANCE (MR) SYSTEMS - SOFTWARE ACCESSORIES | UPDATE | Z11050182 - MAGNETIC RESONANCE (MR) SYSTEMS - SOFTWARE ACCESSORIES | "MMAGNETIC" is a typo, should be "MAGNETIC".
1551 | Z |  | Z120899 | GYNAECOLOGY AND MATERNAL-INFANTS INSTRUMENTS - OTHER | UPDATE | None | None
1552 | Z |  | Z120899 | GYNAECOLOGY AND MATERNAL-INFANTS INSTRUMENTS - OTHER | UPDATE | No | No
1554 | X |  | X010101 | CONTACT LENSES WITHOUT AN INTENDED MEDICAL PURPOSE – HYDROGEL, SINGLE-USE | INSERT | test | test
1555 | C |  | C9005 | PHONENDOSCOPES AND STETHOSCOPES | INSERT | C900501 - Electronic Phonendoscopes and stethoscopes - Medical Device Software | There is no code available for devices that analyze medical sounds acquired by stethoscopes, but are not stethoscopes itself
1558 | M |  | M010101 | HYDROPHILIC COTTON | MOVING | 0 | N.A
1561 | M |  | M0201050102 | COTTON GAUZE PADS, WITH X-RAY DETECTABLE THREAD, NON-STERILE | UPDATE | M0201050102 - COTTON GAUZE PADS, WITHOUT X-RAY DETECTABLE THREAD, NON-STERILE | English translation is incorrectly described, as per Italian text (see original Italian description) - The 5th level code is without x-ray detectable thread non-sterile. - Multiple EMDN code with same product description in English (M0201050202 - COTTON GAUZE PADS, WITH X-RAY DETECTABLE THREAD, NON-STERILE).
1562 | G |  | G99 | GASTROINTESTINAL DEVICES - OTHER | INSERT | G99 | GI endoscope channel cleaning ball brush
1565 | T |  | T030502 | BED AND STRETCHER HYGIENIC COVERS | INSERT | Disposable Bed-Set | We are unsure about the EMDN codes. Our products are all disposable bed sets, meaning they are for single use only (GMDN 60823). The other two product categories would be disposable transfer sheets and disposable transport sheets (GMDN 37163 and 37165). Our declarations of conformity are attached.
1569 | U |  | U010107 | URETHRAL PROSTATIC AND BLADDER CATHETERS, PEZZER | INSERT | U010108 – Urethral Prostatic and Bladder Catheters, Flexible Round Tip U01010801 – Flexible Round Tip Catheters, Self-Lubricating U01010802 – Flexible Round Tip Catheters, Non Self-Lubricating | Flexible Round Tip for Intermittent Catheters None of the current types of catheter tips listed in the codes match this tip design. We would like to have the new type of tip listed and other companies are starting to use this new design as well. Our tip round and flexible. There are tips mentioned with olive or conical shapes but they are rigid and not round. The flexible ball tip is used to navigate through difficult urethras (e.g. BPH, obstructions, etc). Other Devices on the market with an alternative tip from that of Nelaton (fixed rounded, cylindrical tip) and Tiemann/coude (curved, rigid tip) tips are: Coloplast SpeediCath Luja/Flex; Teleflex Liquid X-Treme, Manfred Sauer IQ Cath and Wellspect Lofric Origo Flexilbe Tip. These tips have a flexible neck as opposed to rigid neck, and the tip is ball shape as opposed to cylindrical.
1573 | V |  | V92 | MEDICAL DEVICE SOFTWARE - NOT INCLUDED IN OTHER CLASSES | INSERT | medical questionnaire form creation software | software tool allowing medical professionals to create questionnaires for patients in order to determine scores
1589 | V |  | V |  | INSERT | code V 91-Appareil de photothérapie | Dispositif anti-douleur , actif non invasif, thérapeuthique
1611 | K |  | K020103 |  | INSERT | code K020101103 - Term ELECTROSURGERY ELECTRODES, SINGLE-USE | None
55_2026 | B - Haematology and haemotransfusion devices | Other | B99 |  | Exceptions in this group are not easy to identify versus what can be included as "other". MOVE exceptions in this group to Other (as users are most likely to start in this category, read "other" and use this group to add their device instead of according | Functional versus anatomical categorisation means there will be overlaps. One MD/IVD can be in more than one category. How do we contain different EMDN codes with ONE device (simply via the UDI-DI?) | Practical Guide to the use of EMDN (MedTech Europe). In this guide, exeptions for the B category are identified, but where is this info within the EMDN itself? | SCT has a number of physical objects codes but not structured in the same way as EMDN: 466425002 ¦ Blood transfusion filter (physical object) ¦ As a child of physical object, device, filter device
56_2026 | A: Devices for administration, withdrawal and collection that subsumes exceptions for B | infusion controllers with filter (also transfusion controllers) (A03010102) | A03010102 |  | How is it that this bucket is used to contain exceptions from B specifically for Infusion "controllers"? Would not most haematology devices have some control mechanism as an inherent part of its function? | All transfusion device types to be contained in the B category including with specific functions that have to do with administration, withdrawal and collection and the A category redistributed to medical disciplines. Or NO disciplines but purely according to function as this mixed categorisation structure (function vs anatomical/medical discipline) increases confusion and non standard labelling. Same applies with the other exceptions. Self transfusion (these use almost the same parts or simpler versions of the same parts/equipment). What else does Heamotransfusion devices contain as a group if NOT blood transfusion instruments and pumps? Perhaps dialysis machines can be separated as these cross disciplines (urology/haematology). | EMDN excludes the following in category B: • infusion controllers with filter (also transfusion controllers) (A03010102) • self-transfusion equipment (Z120104) • blood transfusion instruments (Z1217*) • blood pumps (Z12099005) • dialysis devices (F*)
57_2026 | B | B | B04 |  | Blood autotransfusion | How much could mapping to SCT help with classification? Some mapping with the physical object is possible with SCT. | Under Device hierarchy in SCT. To do with blood (haematology) as physical objects. | SCT: Blood autotransfusion system (physical object) Blood cell freeze/thaw system (physical object) Blood centrifugation system (physical object) Blood-processing autotransfusion system (physical object)
58_2026 | B | AUTOTRANSFUSION DEVICES - ACCESSORIES | B0480 |  | Autotransfusion accessories vs other. How are these defined? | Merge these groups under one? Define more simply? When is an item an accessory and when is it an other type of item in this bucket?
59_2026 | B | AUTOTRANSFUSION DEVICES - OTHER | B0499 |  | Autotransfusion accessories vs other. How are these defined? | Merge these groups under one? Define more simply? When is an item an accessory and when is it an other type of item in this bucket?
60_2026 | Z - Medical Equipment and Related Accessories, Sotrware and Consumables | Z12 - Instruments for Functional Explorations and Therapeutic Interventions | Z120110 - Laser Surgery Instruments |  | NEW | Z12011020 - Thulium Surgical Laser | This product is currently under development and not on the market. Intended Use This Laser System with Delivery Devices and Accessories is intended for use in urologic procedures involving endoscopic ablation, vaporization, excision, incision, coagulation of soft tissue and lithotripsy of calculi. Device Description and Operating Principle This laser system is based on Thulium Fiber Laser (TFL) technology and emits a Quasi Continuous Wave (QCW) in the mid-infrared wavelength of 1940 nm. Consequently, the energy of thulium fiber lasers is well absorbed by water. The laser system is mainly focused on urological treatments of soft tissue and for lithotripsy (stones fragmentation or ablation).
1524 | P |  | P9004 | STRUCTURES FILLING, REPLACEMENT AND RECONSTRUCTION DEVICES | INSERT | P900405 – Resorbable Viscosupplementation Device | Attached
1529 | P |  | P9004 | STRUCTURES FILLING, REPLACEMENT AND RECONSTRUCTION DEVICES | INSERT | P900406 – Resorbable Extra-cellular Matrix Supplementation Device | See attached document EMDN Code Proposal Extra-cellular Matrix Supplementation Device 0425
01_2026 | W | W01 - Reagents |  |  | DEL | W0103020904 - Coated tubes (citrate, heparin etc) | Coated tubes (citrate, heparin) are mentioned as auxiliary reagents and supplements for Haemostasis althrough they are used to collect samples for other categories of tests (biochemistry, virology etc). Citrate or heparin tubes are not dedicated to haemostasis. | NA
07_2026 | W | W05 - IVD Generic Use consumables |  |  | NEW | W050101010203 - BLOOD COLLECTION, TUBES WITH CITRATE WITHOUT PLASMA SEPARATOR | It could be more suitable to put coated collection tubes in the sample collection devices section and to differentiate tubes with separator and tubes without separators | NA
08_2026 | W | W05 - IVD Generic Use consumables |  |  | NEW | W050101010204 - BLOOD COLLECTION, TUBES WITH CITRATE WITH PLASMA SEPARATOR | It could be more suitable to put coated collection tubes in the sample collection devices section and to differentiate tubes with separator and tubes without separators | NA
09_2026 | W | W05 - IVD Generic Use consumables |  |  | NEW | W050101010205 - BLOOD COLLECTION, TUBES WITH EDTA WITHOUT PLASMA SEPARATOR | It could be more suitable to put coated collection tubes in the sample collection devices section and to differentiate tubes with separator and tubes without separators | NA
10_2026 | W | W05 - IVD Generic Use consumables |  |  | NEW | W050101010206 - BLOOD COLLECTION, TUBES WITH EDTA WITH PLASMA SEPARATOR | It could be more suitable to put coated collection tubes in the sample collection devices section and to differentiate tubes with separator and tubes without separators | NA
11_2026 | W | W05 - IVD Generic Use consumables |  |  | NEW | W050101010207 - BLOOD COLLECTION, TUBES WITH HEPARIN WITH PLASMA SEPARATOR | It could be more suitable to put coated collection tubes in the sample collection devices section and to differentiate tubes with separator and tubes without separators | NA
12_2026 | W | W05 - IVD Generic Use consumables |  |  | NEW | W050101010208 - BLOOD COLLECTION, TUBES WITH HEPARIN WITH PLASMA SEPARATOR | It could be more suitable to put coated collection tubes in the sample collection devices section and to differentiate tubes with separator and tubes without separators | NA
13_2026 | W | W01 - Reagents |  |  | NEW | W0120902XX - Lead | A blood lead test is essential to find out if a person has lead poisoning. There is no existing code for this type of device. | NA
19_2026 | W | W01 - Reagents |  |  | NEW | W0103030309 - Coombs reagent | The code W0103030304 Polyspecific Antihuman Serum can be used both for Direct Antiblogulin Test (Coombs test) and for Indirect Antiglobulin Test. There are IVD specific for Coombs test, it is important to have a dedicated code for them. | NA
20_2026 | W | W01 - Reagents |  |  | NEW | W0103030103 - Ultimate pre-transfusion test | There is no specific code for Ultimate pre-transfusion tests, althrough they are different from ABO grouping reagents that are used in labs. | NA
21_2026 | W | W01 - Reagents |  |  | NEW | W0103019002 - Anti-platelets antibodies | There is no specific code for the determination of anti-platelets antibodies althrough there is dedicated IVD reagents. | NA
24_2026 | P | P09 - IMPLANTABLE PROSTHETIC AND OSTEOSYNTHESIS DEVICES | P0999: Orthopaedic prostheses, osteosynthesis devices, devices for tendon and ligament synthesis - other |  | NEW | SYNOVIAL FLUID SUPPLEMENTATION DEVICE | A CODE GMDN 44757 EXITS AS WELL AS THE TERM SYNOVIAL FLUID SUPPLEMENTATION DEVICE FOR THIS CODE. We regularly receive reports of incidents involving this type of device. Moreovre, we had somme issues with that type of device so it is important to distinguish them easily | A CODE GMDN 44757
41_2026 | p | P90: Implantable prosthetic and osteosynthesis devices - various | P900402: Resorbable filling and reconstruction devices |  | NEW | P90040201 / P90040301 : Dura-mater substitutes | There is no provision to describe the intended locations of: - P900402 resorbable filling and reconstruction devices - P900403 non-resorbable filling and recontructions devices ; - P900404 autologue graft support. Several devices exist but with only one specific intended location at a time, (ex: cranial / dura mater or facial and odontological , or orthopaedic other...) Add subcodes Level 5 for : P900402 resorbable filling and reconstruction devices - P90040201 Cranial/ Dura-Mater "…." - P90040202 Facial and Odontological "...." - P90040203 Orthopaedic and other "...." Add the same subcodes Level 5 for : -P900403 non-resorbable filling and recontructions devices ; and - P900404 autologue graft support.
42_2026 | p | P90: Implantable prosthetic and osteosynthesis devices - various | P900402: Resorbable filling and reconstruction devices |  | NEW | P90040202 & P90040302: Dental bones substitutes | There is no provision to describe the intended locations of: - P900402 resorbable filling and reconstruction devices - P900403 non-resorbable filling and recontructions devices ; - P900404 autologue graft support. Several devices exist but with only one specific intended location at a time, (ex: cranial / dura mater or facial and odontological , or orthopaedic other...) Add subcodes Level 5 for : P900402 resorbable filling and reconstruction devices - P90040201 Cranial/ Dura Mater " …." - P90040202 Facial and Odontological "...." - P90040203 Orthopaedic and other "...." Add the same subcodes Level 5 for : -P900403 non-resorbable filling and recontructions devices ; and - P900404 autologue graft support.
43_2026 | T | T03: Protections (excluding personal protective equipment ppe) | T030101: Cover caps, instruments and equipment |  | NEW | T03010101 : COVER SHEATHS, INSTRUMENTS AND EQUIPMENTS for endoscopy | There is no provision to describe specific covers caps, instruments and equipement intented for endoscopy (not-surgical), and invasive surgery 1) Add 2 subcodes Level 5 under T030101 , ex: - T03010101 Endoscopic COVER CAPS, INSTRUMENTS AND EQUIPMENT - T03010102 Surgical COVER CAPS, INSTRUMENTS AND EQUIPMENT same for T030102 COVER SHEATHS, INSTRUMENTS AND EQUIPMENT 2) Other solution: add subcodes Level 5 for each endoscopic category, ex: - Z12020586 - UPPER GASTROINTESTINAL TRACT ENDOSCOPY INSTRUMENTS - COVER CAPS AND SHEATHS - Z12020686 LOWER GASTROINTESTINAL TRACT ENDOSCOPY INSTRUMENTS - COVER CAPS AND SHEATHS - Z12020786 GENITOURINARY ENDOSCOPY INSTRUMENTS - COVER CAPS AND SHEATHS - Z12020886 PULMONARY ENDOSCOPIC INSTRUMENTS - COVER CAPS AND SHEATHS - Z12020986 NEUROENDOSCOPY INSTRUMENTS - COVER CAPS AND SHEATHS