## Taul1
| Section | Help text, concentrate on the trend report specific issues, those fields which are identical with the MIR will be according to the updated MIR and the structure of the form will be adjusted in the EUDAMED web interface | Combined initial & final | Initial | Follow Up | Final
1. Administrative information
1.1 | Corresponding competent authority(ies)
a | Member State(s) in which the incidents occurred | Manufacturer thick the EEA country(ies) where he has received the incident reports and add manually list the countries outside EEA+TR+IX where same type of incident has oocured. The countries outside EEA+TR+IX should be added manually.
b | To which NCA(s) is this report being sent? | EUDAMED Ref number of NCAs to whiche the report is send
c | NCA where the manufacturer or authorised representative is located | Name and number of the NCA
d | Reference number assigned by EUDAMED for this incident/Expected undesirable Side Effects/ Expected erroneous results (IVD) | The reference number assigned by Eudamed for this Trend report (after upload/entering trend report into Eudamed)
1.2 | Date, type, and classification of trend report
a | Date of submission | Date when you submit the report, autopopulated by Eudamed
b | Date the trend was identified | The date during the trending period, when the manufacturer detected the trend
c | Time period of trend analysis | The time period during which the trend was identified
d | Basis for the report | Classify the trend report based on the cause for reporting: incident, expected side-effect (MD) or expected erroneous results (IVD) and increased frequency or severity.
e | Type of Report | Initial Report - Choose this for your first report on a particular trend. Follow-up report - Choose this to provide additional/interim information during your investigation. You can submit more than one follow-up report for each trend. Note this option is only available once you have submitted an initial report. Combined initial & final - Choose this if you have the details of the initial and final report within the initial timeframe for reporting. Note that this option is not available once you have submitted an initial report. Final - This is your formal statement of the outcome of your investigation, including any actions proposed or taken.
f | In case of initial and follow-up reports, please indicate the expected date of next report | The date by which you expect to be able to submit your next report on this trend. This may be either a Follow-Up or Final report.
1.3.1 | Submitter information
a | Submitter of report | Identifies the actor who is submitting the report
b | Manufacturer's reference number for this trend report | The reference number assigned by the manufacturer
1.3.2 | Manufacturer information
a | Manufacturer Organisation name | The name of the Manufacturer for the device involved in this Trend report
b | Single Registration Number (SRN) | SRN is the unique identifier which will be the unique identifier of actors in the future Eudamed. When an SRN is available, an SRN field will be completed and will pre-populate the manufacturer details, including the Manufacturer's name.
c | Contact's first name | First name of the manufacturer contact person
d | Contact's last name | Last name of the manufacturer contact person
e | E-mail | E-mail of the manufacturer contact person .
f | Phone | Telephone number of the manufacturer contact person
g | Country | The country where the manufacturer is located.
h | Street | The street of the manufacturer
i | Street number | The street number of the manufacturer
j | Address complement | The address where the Manufacturer is located. E.g. building name
k | P.O Box | The P.O box of the manufacturer
l | City name | The name of the city where the manufacturer is located.
m | Postcode | The postal or zip code where the manufacturer is located
1.3.3 | Authorised representative information
a | Authorised representative organisation name | The name of the Authorised representative for the device involved in this adverse incident
b | Actor ID/SRN (Single Registration Number, SRN) | Actor ID ....SRN is the unique identifier which will be the unique identifier of actors in the future Eudamed. When an SRN is available, an SRN field will be completed and will pre-populate the Authorised representative details, including the Authorised representative's name.
c | Contact's first name | First name of the Authorised representative contact person
d | Contact's last name | Last name of the Authorised representative contact person
e | E-mail | E-mail of the Authorised representative contact person .
f | Phone | Telephone number of the Authorised representative contact person
g | Country | The country where the Authorised representative is located.
h | Street | The street of the Authorised representative
i | Street number | The street number of the manufacturer Autorised representative
j | Address complement | The address where the Authorised representative is located. E.g. building name
k | P.O Box | The P.O box of the Authorised representative
l | City name | The name of the city where the Authorised representative is located.
m | Postcode | The postal or zip code where the Authorised representative is located
1.3.4 | Submitters details if not manufacturer or authorized representative
a | Registered commercial name of company | The name of the company (the legal entity) for this adverse incident
b | Contact's first name | First name of the person to contact about the incident
c | Contact's last name | Last name of the person to contact about the incident
d | E-mail | The email address for the submitter
e | Phone | The telephone number for the company
f | Country | The country where the company is located.
g | Street | The street of the submitter
h | Street number | The number of the manufacturer on the street
i | Address complement | The address where the company is located- e.g. building name
j | P.O Box | The P.O box of the submitter
k | City name | The name of the city where the company is located.
l | Postcode | The postal or zip code where the company is located
2. Medical Device Information
2.1 | Device scope in trend
a |  | Select the scope of the devices in the trend report. MDR, IVDR and legacy devices could be reported by EMDN code, group of devices, individual device or individual UDI-PI(s). For the old devices the reporting could be based only on device(s) name or names and reporting by the category of devices is not possible.
2.2 | Device(s) scope Identification
a | EMDN code(s), Nomenclature text for each code | Possible only for MDR, IVDR and legacy devices. Used in cases the group of devices included into the MTR is on higher level than registered into the Eudamed
b | Basic UDI-DI(s)/ Eudamed DI(s) | Possible only for MDR, IVDR and legacy devices. The data stored in Eudamed will be autopopulated
c | UDI-DI(s)/EUDAMED ID(s),Trade name(s), Catalogue/Ref number(s) | The data stored in Eudamed will be autopopulated and for the old devices it should be filled in manually
e | UDI-PI(s)/Lot/Batch number(s), Trade name(s), Catalogue/Ref number(s) | The data stored in Eudamed will be autopopulated and for the old devices it should be filled in manually
2.3 | Risk class of device when placed on market | MIR form 7.3 this section is revised and will be updated to the MTR form
a | MDD/AIMDD/IVDD Class | Eudamed will provide the information in casest the device scope is Category/Type/Group from Medical device nomenclature (EMDN)
b | MDR/IVDR Class
2.4 | Notified Body Information
a | Notified body (NB) ID number(s) (if applicable) | Autopoulated by Eudamed or manually filled in (based on the information stored in the Eudamed) . All the NB(s) listed will have full access to the Trend report
3. | Description of Trend
a | Background information on the trend | Provide the following information: description of the incidents, the expected side effects or expected erroneous results identified. The methodology used to identify the detected trend, the established and identified threshold, probability of problem arising and the predicted risk to users.
3.1 | Coded information on trend
a | IMDRF Medical device problem codes (annex A)/in-house codes | Please enter the most relevant lowest level observation as Choice 1. You may chose up to 3 other different codes that describe the medical device problem. The in-house codes are allowed to used within the transitional period. When using the in-house codes please provide the verbal description of the code.
b | IMDRFclinical signs, symptoms, conditions (annex E) and health effect codes (annex F)/in-house codes or MedDRA codes | Please enter the most relevant IMDRF 'Clinical signs, symptoms, and conditions codes' (Annex E) and IMDRF 'Health impact' codes (Annex F)". You can choose up to 3 codes to describe: 1) clinical signs, symptoms, conditions 2) health impact. Please enter the most relevant lowest level observation as Choice 1. You may chose up to 2 other different codes that describe the health effect The aim is always to code to the most appropriate level. The in-house/MedDRA codes are allowed to used within the transitional period. When using the in-house or MedDRA codes please provide the verbal description of the code.
3.2 | Root cause analysis
a | Summary of root cause analysis | Concerns only the final report. When a root cause is identified the MF enters its final comments on the root cause and conclusion. The investigation process is described detailed on the trend report document.
3.2 | Actions to be taken or already implemeted
a | Actions to be taken or already implemented to the reduce the risks for the users/patients | Provide an overview about the CAPA or FSCA or other measures decided to adopt in order to reduce the severity and/or the increase of frequency of the reported trend. The corrective and preventive action are described detailed on the trend report document and the FSCAs are follwed through Eudamed.
4. Trend report document
a | Upload the trend report documentt (pdf)
Note on B18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Are all these information autopopulated?
Note on B20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We need to keep Actor ID since not every manufacturer is going to obtain an SRN when registering in EUDAMED (see for example manufacturers of legacy devices ONLY).
Note on C33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: replace "adverse incident" with "trend"