Manufacturer’s trend report -investigations, conclusions, and corrective actions

The MTR Eudamed form includes restricted data in the point of view of the investigation and conclusions made on the detected trend. The detailed information about the affected devices, the methods used to detect the trend, description of the trend and its investigations and conclusion made should be provided on the document attached to the MTR form.

The manufacturer should complete at least the following information

# Description of the devices covered by the trend report

The device scope of the trend report is provided on the Eudamed form. On this section provide the overview about the device(s) or the group of devices the trend report concerns by device (UDI-DI, device model or name).

- Description of the device(s)

  - Device name, intended use, type of device (standalone device, device system, used with accessories, etc.)

  - Patient characteristic or user population

- Indicate the date the device first placed on the market or put in to service in the world and in the EEA+TR+IX

- Volume of sales by member state (table 1)

  - In cases the device is not sold any more but the trend reporting is required for example implantable devices, provide a number of devices implanted and explanted since the device is placed on the market or at least the three last years

Table 1. Volume of sales by the member state and rest of the world

|  | Number of devices sold on year the trend was detected | Number of devices sold during last 3 calendar years* |
| --- | --- | --- |
| AT |  |  |
| BE |  |  |
| BG |  |  |
| etc. |  |  |
| Rest of the world |  |  |
| Total |  |  |

*3-year data, the first year is the calendar year before the trend was detected

# Description of the trend

On this section provide information about the methods to identify the trend, describe the reported trend, its impact to the patients or other users and the rate of the reported trend.

- Provide the method and protocol according to the PMSP of the detected trend and the observations related to the current trend

- Type of the reported trend: is the reported trend previously identified or new, is the trend accumulated to the specific size or model of the device or other attributes of the device or patient population

- When necessary additional information about the consequences to patients or other users compared to that provided on the MTR form

- Provide number of events and devices on the market by country and rest of the world.

  - The number of devices on the market could be based on: devices placed on the market or put into service, units distributed within each time period, number of tests performed, number of episodes of use (for reusable devices), active installed base, units distributed within each time period, number of devices implanted or other -describe (Table 2)

Table 2. Number of events and devices on the market by the trending period

|  | Time period (N-1)* |  | Time period N** |  | Time period (N+1)*** |  | Time period (N+2)**** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Start date |  |  |  |  |  |  |  |  |
| End date |  |  |  |  |  |  |  |  |
|  | Number of incidents | Number of devices on market | Number of incidents | Number of devices on market | Number of incidents | Number of devices on market | Number of incidents | Number of devices on market |
| Country 1 |  |  |  |  |  |  |  |  |
| Country 2 |  |  |  |  |  |  |  |  |
| Country 3 |  |  |  |  |  |  |  |  |
| Worldwide |  |  |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |  |  |

*One trending period before the trend was detected
** The trending period when the trend was detected
***The following trending period after the trend was detected in cases the final report is not completed
****following the previous trending period in cases the final report is not completed

# Manufacturer’s analysis about the trend

On this section describe the details of any preliminary analysis and provide details of any further investigations you plan to undertake to reach the root cause.

Initial and follow-up report

- Preliminary results and conclusions of manufacturer’s investigation

- Describe the further investigations you intend to do in view of reaching final conclusions

Final report

- Describe the investigations taken, potential challenges during the investigation and conclusions of the investigations

- Use the IMDRF codes or in-house codes to describe the investigation process (table 3)

Table 3. Description of the investigation process by the IMDRF or in-house codes

| Coding with IMDRF terms or in-house codes | Choice 1 most relevant code | Choice 2 Code | Choice 3 Code |
| --- | --- | --- | --- |
| IMDRF Cause investigation : Type of investigation (Annex B) /In-house code* |  |  |  |
| IMDRF Cause investigation : Investigation findings (Annex C) /In-house code* |  |  |  |
| IMDRF Cause investigation : Investigation conclusion (Annex D) /In-house code* |  |  |  |

*provide the description of the code

- Reasoning whether the root cause was not identified and its effect to the device safety and performance

- Describe the assessment of the risk/benefit ration and the effect of the assessment on the safety and the performance of the affected devices

- Description of the updates made to the risk analysis including the changes to the thresholds as a result of the trend investigation

- Justification whether the risk analysis is not updated

# Corrective actions

On this section describe the corrective and/or preventive actions taken. Also, the initial actions described on the initial and/or follow-up report should be provided on this section. The initial actions should be described with the detail that is possible.

- Provide the following information for the Corrective and preventive actions (CAPA):

  - type of action, manufacturer’s reference number, issuing date, description of the actions taken, time schedule for the implementation of the different actions, follow-up of the taken actions and the date the initiated actions are completed

- The effectiveness of the taken actions

- Justification whether the planned time schedule was not materialized and the new date the actions will be completed

- Describe any other corrective actions were taking to reduce the risk for the patients /users (update of the labels and IFU’s/Training performed or implemented for the users/…)

- For the FSCAs provide the manufacturer’s reference number

- Further monitoring activities of the implemented corrective action

The term event comprises incidents, expected undesirable side effects and expected erroneous results (IVD) occurred