| MTE | 1.1 a | helptext | Ed | Not same title as in the trend reporting form | Member State(s) in which the incidents occurred Member State(s) in which the incidents, expected undesirable side effects, expected erroneous results (IVD) occurred | Accepted |
| --- | --- | --- | --- | --- | --- | --- |
| AT | 1.1a |  | ed | Remove “h” in “thick” | “Manufacturer tick the EEA…” | Accepted |
| MTE | 1.1a |  | Te | Adapt the wording from MIR to Trend reporting Typographical errors. | Correction to the misspelled words: Manufacturer thick the EEA country(ies) where he has received sent the incident reports trend report and add manually list the countries outside EEA+TR+IX where same type of incident in this trend has ooccured. The countries outside EEA+TR+IX should be added manually. | Accepted partially, the text is clarified, the target is to identify those countries where events occurred. |
| MTE | 1.1 b | helptext | Ed | Typographical errors. | Correction to the misspelled words: EUDAMED Ref number of NCAs to whiche the report is sendt | Accepted |
| AT | 1.1b |  | ed | Remove “e” in “whiche” | “…to which the report is send” | Accepted |
| AT | 1.1b |  | te | This field could also be auto populated by using the information from field 1.1a |  | Accepted, the field is auto populated by Eudamed |
| MTE | 1.1 d | helptext | Ed | Not same title as in the MTR | EUDAMED Reference number for this MTR | Accepted |
| EFPIA | 1.2. |  |  | “If the trend was detected within a PMCF/PMPF investigation”. Missing row in the helptext file. | Add the row. | Accepted |
| AT | 1.1d, 1.3.1, 1.3.2b, 1.3.2k, 1.3.2m, 1.3.3k, 1.3.3m, 1.3.4k, 1.3.4m, 2, 2.1, 2.3, 3a, 3.1.2a, 3.2, 3.2a, 3.3, 3.3a, 3.4a |  | ed | There is a different section name in the help text than in the trend report form. Use the same name in the section of the help text. | - 1.1d EUDAMED Reference number for this MTR - 1.3.1 Submitter of the report - 1.3.2b Actor ID/SRN - 1.3.2k PO Box - 1.3.2m Postal code - 1.3.3k PO Box - 1.3.3m Postal code - 1.3.4k PO Box - 1.3.4m Postal code - 2 Device Information - 2.1 Devices scope type in trend - 2.3 Risk class of device(s) when placed on market - 3a Background information on the trend, including probability of problem arising and the predicted risk to users - 3.1.2a IMDRF 'Health Effect' terms and codes (Annex E, F) or in-house codes/MedDRA codes - 3.2 Root Cause Analysis - 3.2a Summary of the root cause analysis, - 3.3 Corrective actions information - 3.3a Trend report document to upload (pdf) 3.4a Actions to be taken or already implemented to the reduce the risks for the users/patients | Accepted |
| MTE | 1.2 g | helptext | Ed | 1.2 g is missing |  | Accepted |
| AT | 1.2e/g |  | ge | Field 1.2g is missing in the help text |  | Accepted |
| AT | 1.3 |  | ed | Header “1.3 Submitter information” is missing |  | Accepted |
| AT | 1.3.2. |  | ed | Make 1.3.2. bold |  | Accepted |
| NB | Helptext 1.3.2 | b | Ed | Update the text in B20 to read as “Actor ID/SRN” to match the actual trend report template content. Update C20 to describe Actor ID too. | Update the text in B20 to read as “Actor ID/SRN” to match the actual trend report template content. Update C20 to describe Actor ID too. | Accepted, the text is revised, and new text added. |
| AT | 1.3.3a, 1.3.4a |  | te | Please don’t use “incident” | Better use the word “trend” or “event” | Accepted, the term is changed |
| AT | 1,2,3 |  | ed | “Section: “ is missing |  | ? |
| NB | Helptext 1.3.3 | B | Ed | Update C34 to describe Actor ID too. | Update C34 to describe Actor ID too. | Accepted |
| MTE | 1.3.3 a | helptext | Ed | Clarification on the type of report. | Replace adverse incident for trend report. The name of the Authorised representative for the device involved in this adverse incident trend report. | Accepted |
| MTE | 1.3.3 j | helptext | Ed | Editorial changes. | Editorial changes removal of punctuation and brackets added to the example. The address where the Authorised representative is located. (Ee.g. building name) | Accepted |
| MTE | 1.3.4 a | helptext | Ed | Clarification on the type of report. | Replace adverse incident for trend report. The name of the company (the legal entity) for this adverse incident trend report | Accepted |
| MTE | 1.3.4 i | helptext | Ed | Editorial changes. | Editorial changes brackets added to the example. The address where the company is located (e.g. building name) | Accepted |
| MTE | 1.3.3 | helptext | Ed | Still the wording for MIR | The name of the Authorised representative for the device involved in this adverse incident trend report | Accepted |
| MTE | 2.2 b | helptext | Te | What is the “issuing entity” | Add the definition in the helptext. | Accepted, but the text is missing like on the MIR help text document. |
| AT | 2.2e/d |  | ed | Wrong enumeration -> “e” is used instead of “d” |  | Accepted |
| MTE | 2.3.a & b | Helptext | Te | Helptext is not understandable for field a. Helptext is missing for field b. | Please correct | Accepted, the text is updated |
| AT | 2.3a |  | ed | Remove “t” in “caset” | “in case” | Accepted |
| AT | 2.3b |  | ge | Text is missing |  | Accepted, the text is added |
| EFPIA | 3a |  |  | Original text: “Including probability of problem arising and the predicted risk to users.” Some companies set trending limits based on historical complaint rates and are not directly tied to “probability of problem arising”. This text assumes direct link to occurrence rate in risk documents which may not be a correct assumption for many companies. | Suggest removing | Rejected, in the point of view of statistical purposes. |
| MTE | 3.1.ab-b | Helptext | Ed | Incorrect numbering | Should be 3.1.1a and 3.1.2.a according to the trend report form | Accepted |
| AT | 3.1.1, 3.1.2 |  | ed | Header is missing |  | Accepted |
| AT | 3.1.1a |  | ed | “be” is missing in “allowed to used” | “…codes are allowed to be used” | Accepted |
| AT | 3.1.1a, 3.1.2a |  | ge | Please use the text from the MIR help text | e.g. “Please enter the most relevant Level 3 observation on the medical device problem as Choice 1. You may chose up to 5 other different codes that describe the medical device problem. In case you can't find a level 3 observation, but a suitable level 2 code, then please use this code as Choice 1 and explain briefly in the text box why no level 3 code was chosen. You can propose a new IMDRF code/term. If no code on level 2 can be chosen, select one from level 1 and propose a new IMDRF code/term for levels 2 and 3. The aim is always to code to the most appropriate level. If no code (on any hierarchy level) can be found briefly explain why. (This is a way to propose new IMDRF terms which could be incorporated in the nomenclature during a maintenance session) For some codes in Annex A there is no level 3. In those cases, level 1 or 2 would be acceptable without justification. Note Choice 1 is mandatory after the transitional period. The other codes are optional.” | Accepted, the text is copied from document MIR help text, removed the outdated text, and added text related to the in-house/MedDRA codes |
| MTE | 3.1 a | helptext | Ed | Not all chapters are indicated in the helptext | Correct to 3.1.1a for Annex A | Accepted |
| MTE | 3.1 a | helptext | Ed | Can choose up to 6 codes not 3 as indicated in the helptext. Please correct. Also change “verbal description” to text description. | “Please enter the most relevant lowest level observation as Choice 1. You may chose up to 3 6 other different codes that describe the medical device problem. The in-house codes are allowed to used within the transitional period. When using the in-house codes please provide the verbal text description of the code.” | Accepted |
| MTE | 3.1 b | helptext | Ed | Editorial suggestions. | Editorial changes quotation marks added. Please enter the most relevant IMDRF "Clinical signs, symptoms, and conditions codes" (Annex E) and IMDRF "Health impact" codes (Annex F). | Accepted, the text is copied from the MIR help text document |
| MTE | 3.1 b | helptext | Ed | Not all chapter are indicated in the helptext | Correct to 3.1.3 a for Annex E and F | Accepted |
| AT | 3.2/3.3 |  | ed | The enumeration 3.2 is wrongly used twice | “3.3 Action to be taken…” | Accepted |
| MTE | 3.2 | helptext | Ed |  | When a root cause is identified the MF reporter enters its final comments on the root cause and conclusion | Accepted |
| MTE | 3.2 | helptext | Ed | Chapter do not correspond to the MTR | Correct for chapter 3.3 | Accepted |
| EFPIA. | 3.2a |  |  | Original text: “Provide an overview about the CAPA or FSCA or other measures decided to adopt in order to reduce the severity and/or the increase of frequency of the reported trend.” | Anything outside of CAPA or change control should not be included as determining effectiveness would be challenging. We should not be reporting things like commercial-led customer support actions. Recommend removing since these types of mitigations would not be captured in risk documents. | Rejected, the activities are related to the risk management (current field 3.3a). |
| MTE | 3.3, 3.4 | helptext | Ed | Sections 3.3 and 3.4 are missing | Add the sections 3.3 and 3.4 | Accepted, the numbering is corrected and a new section “general comments” is added. |
| AT | 3.4/4 |  | ed | The “Trend report document” is listed as 3.4 in the form and not as an own section as written in the help text | “3.4 Trend report document” | Accepted, it is field 3.5.a |
| AT | 3.4a |  | ge | Text is missing about how or where to upload the document |  | Accepted. The following text is added: The form registers the MTR into Eudamed and provides initial information of the detected trend. The detailed information about the trend and its investigations is provided on the Trend Report document. Firstly, fill in the form, secondly upload the document and thirdly submit it to Eudamed. |