Manufacturer’s trend report document - investigations, conclusions, and corrective actions

Part of the required data to enable the evaluation of the detected trend is provided through Eudamed interface.

The detailed information about the methods used to detect the trend, description of the trend and its investigations and conclusion made should be provided in trend report document. In addition the trend report document includes the device information about those devices which data is not stored in Eudamed.

The manufacturer should complete at least the following information.

# Devices information

The data about the MDR/IVDR device, legacy device and class III implantable CMDs (Custom Made Device) are stored in Eudamed and the device data is auto populated by Eudamed.  The data of the other devices i.e., old devices and CMDs other than class III implantable device are not stored in Eudamed. In addition, regardless of the device type, the device data is not stored in Eudamed in EMDN category, group or type (level 1)level. If the MTR scope includes the old devices, some CMDs and or the scope is the category or group of the devices the device data should be provided on the Trend report document.

Provide the following device data:

- Device(s) name or names. When reporting the group or category of the device, list device name(s) by the reported device group or category

- Intended use, type of device (standalone device, device system, devices part of the procedure pack, used with accessories, etc.)

- Patient characteristic or user population

- The first certification date in the European Economic Area (EEA) + Türkiye (TR) + Northern Ireland (IX)  and the first date placed on the market or put into service in the world.

Provide for all type of devices (including MDR, IVDR, Legacy, CMD and old devices)

- Number of devices placed on the market by member state (table 1)

  - In cases the device is not  commercialized anymore but the trend reporting is required, provide the number of devices in use since the device is placed on the market or at least the three last years. .

Table 1. Devices placed on the market by member state and rest of the world

|  | Devices placed on the market in year the trend was detected | Devices placed on the market during last 3 calendar years* |
| --- | --- | --- |
| AT |  |  |
| BE |  |  |
| BG |  |  |
| etc. |  |  |
| Rest of the world |  |  |
| Total |  |  |

*3-year data, the first year is the calendar year before the trend was detected

# Description of the trend

On this section provide information about the methods to identify the trend, describe the reported trend, its impact to the patients or other users and the rate of the reported trend.

- Provide the method and protocol according to the Post market surveillance plan (PMSP) of the reported trend and the observations related to the current trend

- Type of the reported trend: if the detected trend was identified and reported previously or if it is newly detected,

- When necessary, additional  details about the consequences to patients or other users further to that provided on the MTR interface

- Provide the number of events and total number of devices on the market by country where the event occurred and rest of the world.

  - The number of devices on the market could be based on: devices placed on the market or put into service, units distributed within each time period, number of tests performed, number of episodes of use (for reusable devices), active installed base, units distributed within each time period, number of devices implanted or other -describe (Table 2)

Table 2. Number of events1 and total number of devices (including MDR, IVDR, Legacy and old devices) on the market by the trending period

|  | Time period (N-1)* |  | Time period N** |  | Time period (N+1)*** |  | Time period (N+2)**** |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Start date |  |  |  |  |  |  |  |  |
| End date |  |  |  |  |  |  |  |  |
|  | Number of events | Number of devices on market | Number of events | Number of devices on market | Number of events | Number of devices on market | Number of events | Number of devices on market |
| Country 1 |  |  |  |  |  |  |  |  |
| Country 2 |  |  |  |  |  |  |  |  |
| Country 3 |  |  |  |  |  |  |  |  |
| Rest of the world |  |  |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |  |  |

*One trending period before the trend was detected
** The trending period when the trend was detected
***The following trending period after the trend was detected in cases the final report is not completed
****Following the previous trending period in cases the final report is not completed

# Manufacturer’s analysis about the trend

Initial and follow-up report

- Preliminary results and conclusions of manufacturer’s investigation

- Has the detected trend been found for a specific part of the device, population of the devices or for a specific group of patients/users?

- Describe the further investigations you intend to do in view of reaching final conclusions

Final report

- Describe the investigations taken, and conclusions of the investigations

- Use the IMDRF codes or in-house codes to describe the investigation process (table 3)

Table 3. Description of the investigation process by the IMDRF or in-house codes

| Coding with IMDRF terms or in-house codes | Choice 1 most relevant code | Choice 2 Code | Choice 3 Code |
| --- | --- | --- | --- |
| IMDRF Cause investigation : Type of investigation (Annex B) /In-house code* |  |  |  |
| IMDRF Cause investigation : Investigation findings (Annex C) /In-house code* |  |  |  |
| IMDRF Cause investigation : Investigation conclusion (Annex D) /In-house code* |  |  |  |

*Provide the description of the code

- Reasoning whether the root cause was not identified and its effect to the device safety and performance

- Describe the assessment of the risk/benefit ratio and the effect of the assessment on the safety and the performance of the affected devices

- Description of the updates made to the risk analysis including the changes to the thresholds as a result of the trend investigation

- Justification whether the risk analysis is not updated

# Corrective actions

On this section describe the corrective and/or preventive actions taken. Also, the initial actions described on the initial and/or follow-up report should be provided on this section. The initial actions should be described with the detail that is possible.

- Provide the following information for the Corrective and preventive actions (CAPA):

  - type of action, manufacturer’s reference number, issuing date, description of the actions taken, time schedule for the implementation of the different actions, follow-up of the taken actions and the date the initiated actions are completed

- The effectiveness of the taken initial and on-going actions. The final MTR report could be prepared after that.

- Justification whether the planned time schedule was not materialized and the new date the actions will be completed

- Describe any other corrections taking to reduce the risk for the patients /users (update of the labels and IFU’s/Training performed or implemented for the users/…)

- Describe the further monitoring activities of the implemented corrective action

The term event comprises incidents, expected undesirable side effects and expected erroneous results (IVD) occurred