Article 2

Transitional provisions

- A product for which the manufacturer intends to perform, or is performing, a clinical investigation to generate clinical data for the clinical evaluation in order to confirm the conformity with the relevant general safety and performance requirements set out in Annex I to Regulation (EU) 2017/745 and the common specifications set out in this Regulation, and in the conformity assessment of which a notified body has to be involved in accordance with Article 52 of that Regulation, may be placed on the market or put into service until 31 December 2029, provided that the following conditions are met:

- the product was already lawfully marketed in the Union before 22 June 2023 and continues to comply with the requirements of Union and national law that were applicable to it before 22 June 2023;

- there are no significant changes in the design and intended purpose of the product.

By way of derogation from the first subparagraph of this paragraph, from 22 June 2024 until 22 December 2024, a product that meets the conditions laid down in that subparagraph may only be placed on the market or put into service, if the sponsor has received from the Member State concerned a notification, in accordance with Article 70(1) or (3) of Regulation (EU) 2017/745, confirming that the application for the clinical investigation of the product is complete and that the clinical investigation falls within the scope of the Regulation (EU) 2017/745.

By way of derogation from the first subparagraph, from 23 December 2024 until 31 December 2027, a product that meets the conditions laid down in that subparagraph may only be placed on the market or put into service, if the sponsor has started the clinical investigation.

By way of derogation from the first subparagraph, from 1 January 2028 until 31 December 2029, a product that meets the conditions laid down in that subparagraph may only be placed on the market or put into service, if a written agreement for the performance of the conformity assessment has been signed by the notified body and the manufacturer in accordance with Section 4.3, second subparagraph, of Annex VII to Regulation (EU) 2017/745. In addition, a formal application for that conformity assessment shall be lodged with the notified body in accordance with Section 4.3, first subparagraph, of Annex VII to Regulation (EU) 2017/745 no later than 1 September 2027.

- A product for which the manufacturer does not intend to perform a clinical investigation, but in the conformity assessment of which a notified body has to be involved in accordance with Article 52 of that Regulation, may be placed on the market or put into service until 31 December 2028, provided that the following conditions are met:

- the product was already lawfully marketed in the Union before 22 June 2023 and continues to comply with the requirements of Union and national law that were applicable to it before 22 June 2023;

- there are no significant changes in the design and intended purpose of the product.

By way of derogation from the first subparagraph, from 1 January 2027 until 31 December 2028, a product that meets the conditions laid down in that subparagraph may only be placed on the market or put into service, if a written agreement for the performance of the conformity assessment has been signed by the notified body and the manufacturer in accordance with Section 4.3, second subparagraph, of Annex VII to Regulation (EU) 2017/745. In addition, a formal application for that conformity assessment shall be lodged with the notified body in accordance with Section 4.3, first subparagraph, of Annex VII to Regulation (EU) 2017/745 no later than 1 September 2026.

- A product to which this Regulation applies and which is covered by a certificate issued by a notified body in accordance with Directive 93/42/EEC that was valid on 26 May 2021 may be placed on the market or put into service until the dates laid down in point (b) of Article 120(3) of Regulation (EU) 2017/745, selected on the basis of the product risk class, provided that the conditions set out in Regulation (EU) 2017/745, points (a) or (b) of the second subparagraph of Article 120(2) and points (d), (e) and (f) of Article 120(3) thereof are met.

By way of derogation from the first subparagraph, where the conditions laid down in the second subparagraph of Article 120(2) of Regulation (EU) 2017/745 cannot be met, the product may be placed on the market or put into service until the dates referred to in the first subparagraph, also after the expiry date of the certificate issued by a notified body in accordance with Directive 93/42/EEC, only if after the expiry date of that certificate all the other conditions referred to in the first subparagraph are met.

Article 3

Entry into force and date of application

- This Regulation shall enter into force on the twentieth day following that of its publication in the Official Journal of the European Union.

- It shall apply from 22 June 2023. However, Article 2(3) shall apply from … [OP please insert the date – date of entry into force of this Regulation].

This Regulation shall be binding in its entirety and directly applicable in all Member States.