Commenting table for consultation on Commission recommendation on new definition for nanomaterial

The intention of this consultation is to receive feedback on the new Commission recommendation and its potential impact on the existing nanomaterial definition in Regulation (EU) 2017/745 on medical devices. Kindly return this commenting table by 16 November 2023 to nada.alkhayat@ec.europa.eu with sante-new-technologies@ec.europa.eu in cc.

Attached, you can also find the feedback already provided by colleagues from the European Dental Industry (FIDE).

Following your feedback, a discussion at the upcoming NET WG meeting on 1 December 2023 is foreseen. At that meeting, we hope to understand the views presented and provide an occasion to have a conversation on the feedback received.

Comparison of the nano definitions of the EU from 2011, 2022 and in the Medical Device Regulation

| Description | Recommendation 2011 | MDR, Article 2 | 2022 Recommendation | Name of NCA or stakeholder | Feedback/ assessment from MS/Stakeholder |
| --- | --- | --- | --- | --- | --- |
| Source | 2.‘Nanomaterial’ means a natural, incidental or manufactured material containing |  |  |  |  |
| Form | Particles | Particles | Solid particles |  |  |
| Relevant Particle | in an unbound state or as an aggregate or as an agglomerate and where | in an unbound state or as an aggregate or as an agglomerate | that are present, either on their own or as identifiable constituent particles in aggregates or agglomerates, |  |  |
| Dimension | and where, for 50 % or more of the particles in the number size distribution, one or more external dimensions is in the size range 1 nm-100 nm. | and where, for 50 % or more of the particles in the number size distribution, one or more external dimensions is in the size range 1-100 nm | and where 50 % or more of these particles in the number-based size distribution fulfil at least one of the following conditions: a) one or more external dimensions of the particle are in the size range 1 nm to 100 nm; b) the particle has an elongated shape, such as a rod, fibre or tube, where two external dimensions are smaller than 1 nm and the other dimension is larger than 100 nm; c) the particle has a platelike shape, where one external dimension is smaller than 1 nm and the other dimensions are larger than 100 nm. |  |  |
| Variability of the limit | In specific cases and where warranted by concerns for the environment, health, safety or competitiveness the number size distribution threshold of 50 % may be replaced by a threshold between 1 and 50 %. | None | None |  |  |
| Additional inclusion criteria | 3. By derogation from point 2, fullerenes, graphene flakes and single wall carbon nanotubes with one or more external dimensions below 1 nm should be considered as nanomaterials.. | Fullerenes, graphene flakes and singlewall carbon nanotubes with one or more external dimensions below 1 nm shall also be deemed to be nanomaterials | None |  |  |
| Exclusion criteria 1 | None | None | In the determination of the particle number-based size distribution, particles with a least two orthogonal external dimensions larger than 100 μm need not be considered |  |  |
| Exclusion criteria 2 |  |  | However, a material with a specific surface area by volume of < 6 m 2/cm3 shall not be considered a nanomaterial. |  |  |
| Definition Particle | 4 a) ‘particle’ means a minute piece of matter with defined physical boundaries | 19. ‘particle’, […], means a minute piece of matter with defined physical boundaries | 2 a) ‚particle’ means a minute piece of matter with defined physical boundaries; |  |  |
| Exclusion criteria ‘molecule’ | None | None | single molecules are not considered ‘particles’; |  |  |
| Definition Agglomerate | 4 b) ‘agglomerate’ means a collection of weakly bound particles or aggregates where the resulting external surface area is similar to the sum of the surface areas of the individual components | 20. ‘agglomerate’, […], means a collection of weakly bound particles or aggregates where the resulting external surface area is similar to the sum of the surface areas of the individual components | 2 c) ‘agglomerate’ means a collection of weakly bound particles or aggregates where the resulting external surface area is similar to the sum of the surface areas of the individual components. |  |  |
| Definition Aggregate | 4 c) ‘aggregate’ means a particle comprising of strongly bound or fused particles. | 21. ‘aggregate’, […], means a particle comprising of strongly bound or fused particles | 2 b) ‘aggregate’ means a particle comprising of strongly bound or fused particles; |  |  |
| Volume specific surface (VSSA) as inclusion criteria | 5) […]A material should be considered as falling under the definition in point 2 where the specific surface area by volume of the material is greater than 60 m2 /cm3 . However, a material which, based on its number size distribution, is a nanomaterial should be considered as complying with the definition in point 2 even if the material has a specific surface area lower than 60 m2 /cm3 . |  |  |  |  |