## Sheet1
|  | Help Text | Mandatory properties (applicable only when EUDAMED Vigilance module becomes fully functional) |  |  |  | Comments
Section |  |  | Combined initial & final | Initial | Follow Up | Final
1. Administrative information
1.1 | Corresponding national competent authority(ies) NCA(s)
a | Countries in which the incidents, expected undesirable side effects (MD), expected erroneous results (IVD) occurred | Manufacturer tick the EEA country(ies) where the reported events occured. Possible to select all countries with one click. The countries outside EEA+TR+XI should be added manually. | Y | Y | Y | Y | Please note: Even if the trend identification is based on the data collected by the manufacturer on events occurred EU and Worldwide (in order to have a statistical dataset of events), the manufacturers have to report in this section only the EEA + TR + XI countries where the reported events occurred. Consult also the Q/A trend report document.
b | To which NCA(s) is this report being sent? EUDAMED number of (NCA)s | Reference Numbers Name(s) of NCA(s) to which the report is sent. Unique EUDAMED number of NCA (could be auto filled/selected once EUDAMED available). | Y | Y | Y | Y | Manufacturers must provide information on all countries impacted by the trend in the initial Manufacturer Trend Report (MTR). This selection can be updated in subsequent reports, as stated in the MDCG Q&A: If additional events of the same type are detected during the Trend Report cycle in countries (EEA countries, TR, XI) or worldwide that were not included in the initial MTR, the manufacturer must add the relevant Competent Authorities (CAs) in a follow-up MTR, if foreseen, or, at the latest, in the final MTR.
c | NCA where the manufacturer or authorised representative is located | Name and reference number of the NCA where the manufacturer or authorised representative is located. | Y | Y | Y | Y
d | Reference number assigned by EUDAMED for this MTR | The reference number assigned by Eudamed for this Trend report (after uploading the trend report into Eudamed). | Y | Y | Y | Y
1.2 | Date, type, and classification of Trend Report | [5 empty] | Note that it is not possible to mix MD and IVD in the same Trend report
a | Date of report submission | Date when you submit the trend report. The predefined date format is: YYYY-MM-DD. | Y | Y | Y | Y | autopopulated by Eudamed
b | Date when the reportable trend was detected | The date, during the trending period, when the manufacturer detected the trend | Y | Y | Y | Y
c | Time period of trend analysis | The trending period during which the trend was identified | Y | Y | Y | Y
d | Regulatory type of device MD (MDR, MDD, AIMDD) or IVD (IVDR, IVDD) | Select the device type, MD device or IVD device. Select the device appropriate legislation | Y | Y | Y | Y
e | Basis for the report-type and Basis for the report – what increased | Classify the trend report based on the cause for reporting: incidents, expected undesirable side effect (MD) or expected erroneous results (IVD) and whether it is based on the increased frequency or severity or on both which could have a significant impact on the benefit-risk analysis. | Y | Y | Y | Y | Please note: when a trend is drawn up the type of event which triggers the trend reporting obligations should remain consistent throught the trend reporting process. If new type of event (different from the event identified in the initial report) reportable according trend reporting is identified for the same device/category/group of devices after a trend report process has been initiated it is necessary to create a separate trend. Consult also the Q/A trend report document.
f | Type of Report | Initial Report - Choose this for your first report when a trend is identified. Choose it if your investigation is not completed and a combined report cannot be submitted. Follow-up report - Choose this to provide additional/interim information during your investigation. You can submit more than one follow-up report for each trend. Note this option is only available once you have submitted an initial report. Combined initial & final report - Choose this if you have available all the details of the initial and final report within the reporting time. Note that this option is not available once you have submitted an initial report. Final report - This is your formal statement of the outcome of your investigation, including any corrective and preventive actions taken. | Y | Y | Y | Y
g | In case of initial and follow-up reports, please indicate the expected date of next report | The date by which you expect to be able to submit your next report on this trend. This may be either a Follow-Up or Final report. | N | Y | Y | N
h | The reportable trend was detected within a PMCF/PMPF investigation | Indicate Yes/No if the trend was or not detected in Post Market Clinical Follow up/Post Market Performance Follow up investigation. | Y | Y | Y | Y
i | If the reportable trend was detected within a PMCF/PMPF investigation; please provide the Eudamed ID of that PMCF/PMPF investigation | Please provide the Eudamed ID of that Post Market Clinical Follow-up / Post Market Performance Follow up investigation. The field is displayed in cases the previous answer was yes. | N | N | N | N
1.3 | Submitter information
1.3.1 | Submitter of the report
a | Submitter of report | Who is submitting the trend report | Y | Y | Y | Y
b | Manufacturer's reference number for this MTR trend report | The reference number assigned by the manufacturer. | Y | Y | Y | Y
1.3.2 | Manufacturer information
a | Manufacturer Organisation name | The name of the Manufacturer for the device(s) involved in this Trend report | Y | Y | Y | Y
b | Actor ID/Single Registration Number (SRN) | SRN is the Single Registration Number that is issued through EUDAMED to manufacturers, authorised representatives and importers by the competent authority in accordance with Article 31 MDR and 28 IVDR. An Actor ID is the identifier issued to all actors registered in EUDAMED for their identification in the system. It will be automatically generated by EUDAMED and issued once the registration request is approved by the relevant competent authority. IN THE MIR HELPTEXT THIS SECTION IS THE FOLLOW (DO WE USE THIS TEXT?): SRN is the unique identifier which will be the unique identifier of actors in the future EUDAMED. When an SRN is available, an SRN field will be completed and will pre-populate in EUDAMED the manufacturer details, including the Manufacturer's name. | Y | Y | Y | Y
c | Contact's first name | First name of the manufacturer contact person | Y | Y | Y | Y | Information in c,d,e,f will be auto-populated in Eudamed. These fields will be editable so they can be overwritten/updated.
d | Contact's last name | Last name of the manufacturer contact person | Y | Y | Y | Y
e | E-mail | E-mail of the manufacturer contact person | Y | Y | Y | Y
f | Phone | Telephone number of the manufacturer contact person | Y | Y | Y | Y
g | Country | The country where the manufacturer is located | Y | Y | Y | Y
h | Street | The street of the manufacturer | Y | Y | Y | Y
i | Street number | The street number of the manufacturer | N | N | N | N
j | Address complement | The address where the Manufacturer is located (e.g. building name) | N | N | N | N
k | PO Box | The PO box of the manufacturer | N | N | N | N
l | City name | The name of the city where the manufacturer is located | Y | Y | Y | Y
m | Postal code | The postal or zip code where the manufacturer is located | Y | Y | Y | Y
1.3.3 | Authorised representative information
a | Authorised representative organisation name | The name of the Authorised representative for the device involved in this trend report | Y | Y | Y | Y | Manadatory properties are applicable to section 1.3.3 if manufacturer is not located within EU /EEA / Turkey or Northern Ireland
b | Actor ID/SRN (Single Registration Number, SRN) | A SRN is the Single Registration Number that is issued through EUDAMED to manufacturers, authorised representatives and importers by the competent authority in accordance with Article 31 MDR and 28 IVDR. An Actor ID is the identifier issued to all actors registered in EUDAMED for their identification in the system. It will be automatically generated by EUDAMED and issued once the registration request is approved by the relevant competent authority See above | Y | Y | Y | Y | The actor module is not yet mandatory - Please add unknown if not available.
c | Contact's first name | First name of the Authorised representative contact person | Y | Y | Y | Y
d | Contact's last name | Last name of the Authorised representative contact person | Y | Y | Y | Y
e | E-mail | E-mail of the Authorised representative contact person | Y | Y | Y | Y
f | Phone | Telephone number of the Authorised representative contact person | Y | Y | Y | Y
g | Country | The country where the Authorised representative is located | Y | Y | Y | Y
h | Street | The street of the Authorised representative | Y | Y | Y | Y
i | Street number | The street number of the manufacturer Authorised representative | N | N | N | N
j | Address complement | The address where the Authorised representative is located (e.g. building name) | N | N | N | N
k | PO Box | The PO box of the Authorised representative | N | N | N | N
l | City name | The name of the city where the Authorised representative is located. | Y | Y | Y | Y
m | Postal code | The postal or zip code where the Authorised representative is located | Y | Y | Y | Y
1.3.4 | Submitter’s details if not also manufacturer or authorised representative
a | Registered commercial name of company | (Third party) entities appointed to perform Vigilance reporting on behalf of the manufacturer or the Authorised Representative. | Y | Y | Y | Y | Mandatory properties are applicable to section 1.3.1 a if Submitter of report is 'Other'
b | Contact's first name | First name of the person to contact about the trend report | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
c | Contact's last name | Last name of the person to contact about the trend report | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
d | E-mail | The email address for the submitter | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
e | Phone | The telephone number for the company | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
f | Country | The country where the company is located | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
g | Street | The street of the submitter | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
h | Street number | The number of the submitter on the street | N | N | N | N
i | Address complement | The address where the company is located (e.g. building name) | N | N | N | N
j | PO Box | The PO box of the submitter | N | N | N | N
k | City name | The name of the city where the company is located | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
l | Postal code | The postal or zip code where the company is located | Y | Y | Y | Y | Only mandatory if Submitter of the report is "Other'
2. Device Information
2.1 | Type of device scope
a | Category//Group/Type from European Medical device nomenclature (EMDN) (not for IVD, neither for old devices) | Select the device level on which the MTR is prepared. Only one selection is possible. MDR, MDD, AIMDD and legacy devices could be reported by European Medical Device Nomenclature (EMDN) category, group or type of device, Basic UDI-DI(s)/Eudamed DI(s), individual device(s) or individual UDI-PI(s)/LOT number(s). The IVDR and IVD devices could be reported by Basic UDI-DI(s)/Eudamed DI(s), individual device(s) or individual UDI-PI(s)/LOT number(s). The old devices (MDD, AIMDD, IVD) could be reported only by device(s) name(s) and reference number(s). The Custom made Devices could be reported only by device name or device group name. | Y | Y | Y | Y | Please note: as stated in art.88 of the MDR a trend report could be performed for a single device as well as for a category or a group of device if they are related to the same type of events. For IVD the art.83 of IVDR does not specify that a trend report can be applicable to a category or a group of devices. If additional devices/category/group of devices are identified and are linked to the same type of events as initially reported this information should be incorporated already in the existing report (follow up or final report). For more information please consult also the Q/A on trend reporting.
2.2 | Device(s) scope Identification
a | EMDN code(s), Nomenclature text for each code . Nomenclature text for each code (Display only) | The field is used when the device scope on the MTR is Category/Group/Type from European Medical Device Nomenclature (EMDN) i.e. the scope is on higher level than the devices are registered in Eudamed. Possible only for MDR, CMD and legacy medical devices. The data should be provided manually by each reported code. | Y | Y | Y | Y | Based on Eudamed rules selecting one of either a,b,c or d is mandatory.
b | Basic UDI-DI(s)/ Eudamed DI(s) and issuing entity . List all applicable. For each Basic UDI-DI/EUDAMED DI at least the following will be additionally displayed from UDI/Device data: Applicable legislation, risk class, Name and/or Model | The field is used when the device scope on the MTR is on Basic UDI-DI(s)/Eudamed DI(s) level. Possible only for MDR, IVDR and legacy devices. The data stored in Eudamed will be autopopulated. | Y | Y | Y | Y | Based on Eudamed rules selecting one of either a,b,c or d is mandatory.
c | (Master) UDI-DI(s)/EUDAMED ID(s), issuing entity, Trade name(s), Catalogue/Ref number(s. ) Applicable legislation Basic UDI-DI/EUDAMED DI (only for Regulation and Legacy devices) Risk class, EMDN code(s) and title(s), Trade name(s), Catalogue/Ref number(s) | The field is used when the device scope on the MTR is on device level. The data stored in Eudamed will be autopopulated and the data related to the old devices should be provided manually | Y | Y | Y | Y | Based on Eudamed rules selecting one of either a,b,c or d is mandatory.
d | UDI-PI(s)/Lot/Batch number(s), Trade name(s), Catalogue/Ref number(s), issuing entity,UDI-PI(s)/Lot/Batch number(s) . List all applicable: Applicable legislation, Basic UDI-DI/EUDAMED DI (only for Regulation and Legacy devices), Risk class, EMDN code(s) and title(s), Trade name, Catalogue/Ref number | The field is used when the scope of the MTR is on the batch level. In case the MTR scope is production identifier and more than 5 batches are affected, the manufacturer should upload a list in attachment which identifies the devices and production identifiers (UDI-PI, LOT/Batch number(s)) | Y | Y | Y | Y | Based on Eudamed rules selecting one of either a,b,c or d is mandatory. The following requirement 'In case the MTR scope is production identifier and more than 5 batches are affected, the manufacturer should upload a list in attachment which identifies the devices and production identifiers (UDI-PI, LOT/Batch number(s)) information' should be captured in the document entitled:- Guidance on Manufacturer’s trend report document, additional information to be provided together with MTR form
2.3 | Risk class of device(s) when placed on market
a | MDD/AIMDD/IVDD | The data stored in Eudamed will be autopopulated. Indicate the relevant risk class for the medical device to which this report refers. If unknown please select risk class to the best of your knowledge and update on follow up/final. Eudamed will provide the information in cases the device is registered into Eudamed. | Y | Y | Y | Y
b | MDR/IVDR | MDR and IVDR fields set up as according to proposal in EUDAMED The information will be attached to the UDI (Basic UDI-DI) in the UDI database; therefore, it will come automatically with the Basic UDI-DI (except for custom-made device which will not have a Basic UDI-DI). If unknown please select risk class to the best of your knowledge and update on follow up/final. The data stored in Eudamed will be autopopulated. | Y | Y | Y | Y
2.4 | Notified Body Information
a | Notified body (NB) ID number(s) (if applicable) | The most current identification number for the Notified Body that granted the CE mark for this device. If two Notified Bodies are involved, please enter both values in the field provided. Autopopulated by Eudamed or manually filled in (based on the information stored in Eudamed). All the NB(s) listed will have full access to the Trend report. | Y | Y | Y | Y
3. | Description of Trend
3.1 | Background information on the trend, including probability of problem arising and the predicted risk to patients, users or other persons. | Provide the following information: description how the incidents, the expected undesirable side effects or expected erroneous results have been identified. The methodology used to identify the detected trend, the established and identified threshold, probability of problem arising and the predicted risk to users. | Y | Y | Y | Y
3.2 | Coded information on trend
3.2.1 | Medical device problem information
a | IMDRF Medical device problem codes (Annex A) or in-house codes | Mandatory to use IMDRF codes for trend reporting. when the following transition period is over: The mandatory use of the IMDRF AE codes starts 3 months after the publication of the Trend report form and help text + 3 years after the entry into application of the mandatory use of the IMDRF AE codes. When using the in-house codes please provide the text description of the code. Medical Device Problems" codes describe the problems (malfunction, deterioration of function, failure) of medical devices that have occurred in pre- or post-market contexts. The aim is to always provide the most appropriate coding level. Please enter the "most relevant" Annex A level 3 observation of the medical device problem as "Choice 1". While providing the "most relevant" code as "Choice 1" is mandatory, a manufacturer may choose to add up to 5 additional, different Annex A codes that describe the medical device problem(s). These other codes are optional. In case you cannot assign an adequate Annex A level 3 observation but a suitable Annex A level 2 code could be assigned, please use this Annex A level 2 code as "Choice 1". If it is not possible to assign an adequate Annex A level 2 code, select a suitable code of Annex A level 1 as "Choice 1". For some medical device problems, Annex A does not provide all 3 levels of terms and codes. In those cases, coding of Annex level 1 or 2 would be acceptable without justification. Since Coding with IMDRF Annex A terms/codes (instead of in-house codes) is preferred is a mandatory requirement, “Choice 1” in Section 3.2a needs to be populated and cannot be left blank. If MTR includes several problems with the same root cause, then list all the problems and indicate in the MTR document that the problems significance is equal. | Y | Y | Y | Y
3.2.2 | Health effect
a | IMDRF " health effect" terms and codes (Annex E, F) and codes/in-house/MedDRA codes. | once the transition period is over. The mandatory use of the IMDRF AE codes starts 3 months after the publication of the Trend report form and help text + 3 years after the entry into application of the mandatory use of the IMDRF AE codes. When using the in-house codes please provide the text description of the code. Health Effect codes describe the consequence(s) of the reported trend to the patient involved. You can choose up to 6 codes to describe: 1) clinical signs and symptoms or conditions and 2) health impact. The aim is to always provide the most appropriate coding level. Please enter the most relevant lowest level observation as Choice 1. You may chose up to 5 other different codes that describe the health effect. In case you can't find a level 3 observation, but a suitable level 2 code, then please use this code as Choice 1 and explain briefly in the text box why no level 3 code was chosen. Since Coding with IMDRF Annex E, F terms/codes is preferred (instead of in-house codes) a mandatory requirement, “Choice 1” in Section 3.3a needs to be populated and cannot be left blank. | Y | Y | Y | Y
3.3 | Root Cause Analysis
a | Summary of the root cause analysis | Concerns only the final report. When a root cause is identified the reporter enters its final comments on the root cause and conclusion. The investigation process is described and detailed in the trend report document. | Y | N | N | Y | Please note: provide here further information if during the investigation of a trend a manufacturer identifies that the root cause is actually different from what was initially determined or discover an additional roo cause to that/those initially reported. This information should be added in the follow up and/or in the final report and further information included in the trend document in attachement. Please for more information consul the Q/A trend report document.
3.4 | Actions to be taken or implemented to reduce risks for the users/patients
a | Information about corrective or preventive actions, or any other measures and justification if corrective or preventive actions have not been taken | Provide an overview about the corrective or preventive actions or other measures decided to adopt in order to reduce the severity and/or the increase of frequency of the reported trend. Please provide where applicable the FSCA reference number related to the trend report. Furthermore, if any other corrective or preventive action has been implemented provide all the detailed information in the Section 4 of the trend report document. | Y | N | Y N | Y
3.5 | General comments
| Free text field | Please use this section for any further comments or information that has not already been provided in the earlier sections of this report. | N | N | N | N
3.6 | Upload the Trend report document (pdf)
a | Trend report document to upload (pdf) | The trend report document is an additional file in pdf that includes further information that cannot be introduced through the MTR form in Eudamed. The detailed information about the trend and its investigation is provided on the Trend Report document. Firstly, fill in the MTR form, secondly upload the Trend report document and thirdly submit it to Eudamed. Please ensure this document is submitted alongisde the trend report form or via EUDAMED (once fully functional). | Y | Y | Y | Y